# REQUEST FOR PROPOSAL

# FOR

# 2015 Urban Water Management Plan

April 17, 2014

City of Manteca

Public Works Department

1001 West Center Street, Manteca, California 95337

Ph: 209-456-8400  ●  Fax: 209-923-8940

## Table of Contents

Section I - Project Background.....................................................................................3

Section II - Scope of Services.......................................................................................4

Section III - Proposal Requirements and Contents........................................................6

Section IV - Cost Proposal ............................................................................................8

Section V - Proposal Schedule......................................................................................9

Section VI - Selection Criteria.......................................................................................9

Section VII - Submittal of Proposal................................................................................10

Section VIII - Proposal Terms and Conditions...............................................................10

Attachment A – City of Manteca Insurance Requirements

I - PROJECT BACKGROUND

The City of Manteca is seeking proposals from qualified firms for the preparation of its 2015 Urban Water Management Plan. The objective of an Urban Water Management Plan is to assist the City in planning for and meeting future water demands from its system. Beginning in December 1985, urban water agencies that had either 3,000 or more connections or that delivered 3,000 or more acre feet per year were to submit water management plans to the Department of Water Resources in response to the Urban Water Management Planning Act of 1983. The Act requires a plan be updated at least every five years. Plans are due to the Department of Water Resources no later than December 31, 2015.

The City of Manteca last prepared an Urban Water Management Plan update in 2005 in response to the City’s Water Master Plan. The City is requesting a complete revision to its 2005 Urban Water Management Plan update to include all information required by law under the review of the Department of Water Resources reporting requirements, conservation program, and water demands reflecting current land use planning for the City. Information collected through the preparation of a Water Conservation Master Plan will be available to supplement the demand management measures portion of the Urban Water Management Plan.

Proposals and subsequent interviews, if necessary, will be used to select a firm for this project. The available information, scope of work, proposal requirements, and schedule are presented below.

Available Information

The following documents are available for review:

- City of Manteca 2005 Urban Water Management Plan

- City of Manteca 2005 Water Master Plan

- Other data as specified in Task 1

### II - SCOPE OF SERVICES

The selected firm will prepare an Urban Water Management Plan in accordance with the Urban Water Management Planning Act of 1983, as amended, meeting ALL objectives established by the California Department of Water Resources.

The Scope of Services for the 2015 Urban Water Management Plan includes:

Task 1 – Data Collection and Review

A. Research, identify and review existing data that is available. This includes:

1. Maps

2. Reports

3. General Plans

4. Specific Plans

5. Water System Master Plan

6. Water supply agreements

7. Specific Plans

8. 2013 meter read data

9. Any other records necessary to develop the UWMP using current data, including utility billing history and water production data.

Task 2 – Preparation of 2015 Urban Water Management Plan

A. Follow 2015 DWR or latest available guidelines and include the following:

1. Assist City in coordination of plan with other agencies.

2. Service area information with a 20-year projection

a. Population

b. Climate

c. Housing density, development, income levels, etc.

3. Water sources

a. Current and planned surface water supplies.

b. Groundwater supplies

c. Recycled water needed to balance water demand

4. Reliability of Supply

a. Supply reliability in acre-feet/year

b. Basis of water year data

c. Factors resulting in inconsistency of supply

d. Groundwater balance

e. Review and justify the safe yield of groundwater pumping rate of 1 ac-ft/yr/acre

f.  Over-pumping the groundwater table during single/multiple dry years

5. Water Use Provisions – Past, Current, & Projected Use

a. Residential sector

b. Commercial sector

c. Industrial sector

d. Institutional/Governmental sector

e. Landscape/Recreation sector

f.  Agricultural sector

g. Unaccounted water losses

6. Transfer and exchange opportunities

7.  Water use by customer type, current and using a 20-year projection

a. Sales to other agencies

b. Additional water uses and losses

c. Total water uses

8.   Demand Management Measures

a. Measurement of 14 Best Management Practices as established by the California Urban Water Conservation Council.

9.   Evaluation of Demand Management Measures not implemented

10. Planned water supply projects and programs

11. Current or projected supply

12. Water shortage contingency plan

13. Water quality impacts on reliability

14. Water service reliability

15. Identify and quantify park irrigation wells, including golf course and BLD sport complex

16. Identify and quantify the water exporters for non-potable wells within Manteca’s sphere that are pumping water to users outside the sphere

17. Identify and quantify SSJID’s supplemental irrigation wells (non-potable wells owned by SSJID that are used to supplement surface water for irrigation services for their customers)

18. Identity and quantify all private potable wells, both residential and commercial

19. Breakdown of water consumption within specific residential areas

20. Respond to the Department of Water Resources’ comments after updated UWMP has been submitted and reviewed by the department

# Task 3 – Meetings and Presentations

A.  Selected firm will agree to attend a minimum of eight meetings to discuss data and internal review comments, not including any site visits necessary for data collection and/or review.

B.  Telephone calls and electronic methods of communication will happen as normal course of business and will not be counted against the meeting schedule.

C.  Selected firm shall also plan on attending one meeting with the Manteca City Council. City staff will make presentation with consultant to provide backup as necessary.

# Task 4 – Submittals & Addressing Review Comments

A.  Administrative Draft

Submit an Administrative Draft in PDF format for internal City review.  Upon receipt of City comments, incorporate them into the document to form the Public Draft.

B.  Public Draft

Forty (40) hardcopies of the final report shall be prepared for distribution by the City of Manteca.

C.  Final Report

An electronic file of the final approved report in MS Word and PDF format.

III - PROPOSAL REQUIREMENTS AND CONTENTS

Proposals submitted for this project are to follow the outline described below and must address all requested information. Any additional information that a proposing firm wishes to include that is not specifically requested should be included in an appendix to the proposal. Firms are encouraged to keep the proposals brief and to the point, but sufficiently detailed to allow evaluation of the project approach.

### PROPOSAL OUTLINE

Section 1 Project Overview (4 pages maximum)

Provide a narrative description of the project based on the Scope of Work presented in the RFP. Include any issues that you believe will require special consideration for this project. Also identify any unique approaches or strengths that your firm may have related to this project. City staff will assess your understanding of all aspects of the project based on the overview.

Section 2 Project Team (8 pages maximum)

The project team section shall provide identification of responsible project personnel and shall identify their role on the team. A project team organizational diagram and a brief resume of each team member shall be included. The geographic location of the firm and key personnel shall also be identified. Any proposed sub-consultants shall be listed. Include sub-consultants assigned task(s) and experience. Full resumes may be included in the appendix.

The proposal shall provide a description of projects similar in nature and scope that your firm’s team members have completed in the last 5 years. Include a contact list with client names, addresses and telephone numbers. If a team or joint venture is proposed for this project, indicate which firm and individual was involved with the listed project. Identify project team members that worked on the project and their role and responsibility. Include only those projects where there was significant involvement from individuals who are part of the proposed project team.

Section 3 Detailed Work Plan (10 pages maximum)

The proposal shall provide a description of the required tasks and duties for preparation of all project submittals and administration. The description shall include details to implement all tasks described in the Scope of Work and any recommended additions to the list of tasks. List anticipated deliverables and assumptions used in development of the work tasks as well as assistance expected from City staff. Also identify any unique approaches or strengths that your firm may have related to this project.

Section 4 Project Schedule (1 page maximum)

The proposal shall provide a project schedule showing key project milestones and deliverables. The schedule shall demonstrate your firm’s ability to meet the designated milestones listed above. Assumptions used in developing the schedule shall be identified.

Section 5 Conflicts of interest (1/2 page maximum)

Firms submitting a Proposal in response to this RFP must disclose any actual, apparent, direct or indirect , or potential conflicts of interest that may exist with respect to the firm, management, or employees of the firm or other persons relative to the services to be provided under the Agreement for engineering services to be awarded pursuant to this RFP. If a firm has no conflicts of interests, a statement to that effect shall be included in the proposal.

Section 6 Proprietary Information (1/2 page maximum)

Firms submitting a Proposal in a response to this RFP must provide a statement that nothing contained in the submitted proposal will be proprietary. All proposals shall become the property of the City once submitted.

Section 7 Insurance (1 page maximum)

Provide a summary of the firm’s (and sub-consultant’s) insurance coverage. Minimum limits and types of insurance that are required to be maintained throughout the term of the project are identified in Attachment A.

Section 8 Signature

The proposal shall be signed by an official, authorized to bind the consulting firm and shall expressly state the proposal is valid for 90 days.

### IV - COST PROPOSAL

In a sealed envelope, as a separate document to your Proposal, provide 2 copies of the cost required for each task and sub - task identified in the Work Plan. At a minimum, include a line item cost estimate for each task outlined in the Scope of Work above. The spreadsheet shall be in a format that will permit City staff to determine the key project team member(s) proposed for each task and sub - task and the number of management, engineering, technical, drafting and support personnel hours, cost per hour for each project team member and total cost envisioned for each task. The hourly rate, name of the team member and staff classification shall be included in the column headings of the spreadsheet. Minority team members such as clerical or drafting may be classified as such. Grouping of professional staff into categories such as Staff Engineer, etc., shall not be allowed.

The cost proposal shall include a computer disk or CD containing the spreadsheet file.

Identify all other costs to be billed to the project including project expenses (no mark-ups on expenses will be allowed) and sub-consultant costs. Include any proposed mark-up for sub-consultant fees. Include a copy of the proposed rate schedule(s) to be used throughout the duration of the project including any adjustments that are predicted to occur during the life of the project.

### V - PROPOSAL SCHEDULE

The following schedule is anticipated for awarding this project. If a change in this schedule becomes necessary, all recipients of the RFP will be notified.

RFP Issued: 				April 17, 2014

Proposal Due (3:00PM): 		May 9, 2014

Selection of shortlist (3):		May 15, 2014

Interviews: 				May 22, 2014

Firm Selection: 			May 27, 2014

Contract Approval by City Council: 	June 17, 2014

Questions regarding this project must be transmitted by email one week prior to the proposal due date. No questions will be answered by telephone. However, faxed questions are acceptable.

Address questions via phone or email to:

Fernando Ulloa, P.E.

Senior Engineer

(209) 456-8427

fulloa@ci.manteca.ca.us

VI - SELECTION CRITERIA

The proposals will be screened by a selection committee and rated on:

• Experience and qualifications of the team

• Ability to complete the work on time

• Work Plan and understanding of the Project

• Responsiveness to the RFP

• Level of effort relative to services provided

• Understanding of project scope

### VII - SUBMITTAL OF PROPOSAL

Four (4) copies of the proposal shall be received by 3:00 pm on the due date at:

City of Manteca - Public Works Department

Attn: Fernando Ulloa, P.E.

1001 W. Center Street

Manteca, CA 95337

The deadline for submittal is noted in Section V. Please note that the submittal deadline is strictly held. Late proposals will not be accepted.

### VIII - PROPOSAL TERMS AND CONDITIONS

The City will not pay any costs incurred by the firm in preparing or submitting the proposal. The City reserves the right to modify or cancel, in part or in its entirety, this RFP. The City reserves the right to reject any or all proposals, to waive defects or informalities, and to offer to contact with any firm in response to any RFP. This RFP does not constitute any form of offer to contract.