SPECTEXT® 2005, Copyright July 2005
Revised 07/2005

The Construction Sciences Research Foundation
For use by licensed SPECTEXT® subscribers only.


SECTION 01301
PROJECT PLANS AND SPECIFICATIONS
PART 1 GENERAL

1.1 DESCRIPTION

Submit project plans and specifications for approval by the City. Project plans and specifications shall be stamped by licensed California civil, mechanical, electrical, geotechnical, and structural professional engineers, land surveyors and architects as appropriate to the plan and specification discipline.  Obtaining approvals from other agencies other than the City are the sole responsibility of the Design/Builder.
1.2 SUBMITTAL PROCESS

A.  Five complete sets of project plans and specifications, signed and stamped by all appropriate licensed engineers, land surveyors and architects, shall be submitted to the City.  The complete set of project plans and specifications shall include all features of work.  Project plans and specifications, stamped by licensed engineers, land surveyors and architect, shall be submitted in its entirety as one package.
In all cases, plans and specifications that are stamped and signed by the appropriate California licensed professional engineer, land surveyors or architect and accepted by the City and other Agencies are requisite to starting the work contained therein. 
B.  A set of project plans contains one set of specifications, one set of full size plans (no smaller than 24 inch by 36 inch), and one set of half size 11x17 plans.
C.  All work to be incorporated in the Project and all trades working on the project shall have corresponding plans and specifications submitted, in detail, for review and acceptance by the City before construction may commence.  

D.  Each and every plan sheet and specification title page shall be signed and stamped by the appropriate licensed engineer, land surveyor or architect.  

E.  The City review and acceptance of project plans and specifications is to verify adherence to the intent of the Work.  The City review and acceptance of project plans and specifications is not to verify engineering, land surveyor and architectural design calculations and compliance with applicable regulations, laws, statutes, codes, ordinances, and standards. Acceptance by the City shall not relieve the Design/Builder from responsibility for any errors or omissions in the project plans and specifications.  Acceptance by the City shall not relieve the Design/Builder from responsibility for complying with requirements of this Contract, except with respect to variations that have been described in writing and approved by the City.
F.  If plans and specifications show variations from contract requirements, the Design/Builder shall describe such variations in writing, separate from the plans and specifications, at time of submission.  All such variations must be approved by the City.

G.  The City will indicate acceptance or disapproval of each project plan sheet and specification, and reasons for disapproval.

H.  If more than TWO submittals of a plan or specification are required because of incorrect or insufficient data, or it is unacceptable, or because the Design/Builder wishes to change previously approved plans or specifications, then all costs incurred by the Owner for the additional review shall be deducted from monies due the Design/Builder.  

1.  If multiple project plan and specification submissions are necessary due to comments, amendments, and corrections, then at the time that all the project plans and specifications have received acceptance and are finalized, five complete sets of project plans and specifications, signed and stamped by all appropriate licensed engineers and architects, shall be provided to the City, at no extra cost to the City.  
1.3 CITY’S ENGINEER'S APPROVAL
A.  The City’s Engineer shall have 21 days to review submitted plans and specifications and will indicate his acceptance or disapproval of each plan sheet and specification section, and his reasons for disapproval.
1. If no corrections are required, the copies will be returned marked "NO EXCEPTIONS TAKEN". 

2. If corrections are required, the copies will be returned marked "MAKE CORRECTIONS NOTED".
B.  The Design/Builder shall not change any plan or specification after it has been marked NO EXCEPTIONS TAKEN without written permission of the City’s Engineer. 

C.  If more than TWO submittals for a single plan sheet or specification are required because the plan or specification is unacceptable, or because the Design/Builder wishes to change previously approved plan or specification, then all costs incurred by the Owner for the additional review shall be deducted from monies due the Design/Builder.
PART 2 MATERIALS
Not used.

PART 3 EXECUTION
Not used.

END OF SECTION


Selective Electrical Demolition


02$/:s41$/:s26 - 

February 25, 2013
Stamped Plans and Specifications
City of Manteca
 
01301-1
Atherton Tank and PS Project

