	Letter
C
Response
	
	South San Joaquin Irrigation District
Sam Bologna, Engineering Department Supervisor
February 25, 2005


C-1
With regard to stormwater quality, the project would be required to meet the requirements of Chapter 13.28 of the City of Manteca Municipal Code. Chapter 13.28 was created through adoption of Ordinance 12.53 by the City of Manteca and establishes minimum storm water management requirements and controls to protect the watersheds within the City of Manteca. Specifically, Section 13.28.030 prohibits illegal discharges that contribute to a violation of applicable water quality standards and Section 13.28.060 requires compliance with the Regional Water Quality Control Board’s (RWQCB) National Pollution Discharge Elimination System (NPDES) storm water discharge permit. Also, Section 13.28.070 requires the project to adopt and impose Best Management Practices (BMPs) for any activity, operation, or facility which may pollute or contaminate storm water. 
In compliance with the requirements of Chapter 13.28, the Draft URSP lists City of Manteca General Plan policies applicable to water quality and identifies measures that would be implemented at the project site to meet the city’s storm water quality standards. The city’s water quality policies require minimizing sedimentation and loss of topsoil from soil erosion, minimizing pollution of waterways and surface water bodies from urban runoff, protecting the quality of groundwater, encouraging participation in a basin-wide groundwater management study, and abandonment of existing septic tanks in the specific plan area. The proposed project incorporates structural BMPs to remove pollutant constituents from storm water runoff generated by proposed uses. Examples of BMPs proposed for the project include not exceeding existing peak storm water runoff discharge rates, minimizing storm water pollutants of concern, protecting slopes and channels, providing storm drain system stenciling and signage, properly storing outdoor materials, properly designing trash storage areas, providing proof of ongoing BMP maintenance, and properly designing parking areas.
With regard to the capacity of storm water drainage facilities, the project would incorporate design features including pumps, detention basins, conveyance systems, and a supervisory control and data acquisition (SCADA) system to retain, detain, and discharge in a controlled fashion, storm water generated onsite. As described, in the DEIR (page 4.9-20), the proposed drainage facilities are designed to meet drainage and discharge criteria for a 48-hour, 100-year flood event and would provide sufficient capacity to accommodate project-related storm water volumes. Through the implementation of these water drainage features, development of the project site would not compromise the water drainage capabilities in surrounding areas. The storm drainage improvements proposed for the project site include the following facilities and design elements:

· Four detention basins with a total volume of 45.3 acre-feet. The detention basins would be designed according to the current City of Manteca Storm Drainage Master Plan standards (adopted in 1986) and standards proposed in the Draft Updated Master Storm Drainage Master Plan (not yet adopted).
· Detention basins designed using the urbanized shed rainfall for the design storm event of 3.56 inches, which is a 10-year storm event, 48 hour duration.

· Detention basins designed for the joint purposes of attenuating runoff from the site and providing water quality benefits such as filtration by natural processes.
· Facility storm drain design, including detention basins and conveyance systems, that is based on the California Stormwater Quality Association (CASQA) Best Management Practices Handbook.

· Discharges from the proposed detention basins would be pumped into existing city drains and South San Joaquin Irrigation District (SSJID) canal laterals. Canals and drainage facilities that are located on the project site would be replaced with underground pipes in accordance with SSJID design standards. The discharge pumping systems in the detention basin would control the rate of flow of storm water discharges to SSJID facilities within the project site. These facilities ultimately discharge storm water to the French Camp Outlet Canal (FCOC).
· A SCADA system would be employed and would control operation of the discharge pumps within the onsite detention basins. The SCADA system would only allow the discharge of storm water to SSJID facilities during non-peak flow periods through the use of flow sensors in the SSJID system (including FCOC). 
Final design and siting of onsite facilities and connection to offsite facilities will be determined in subsequent design phases and construction documents. The project applicant and City of Manteca will consult with SSJID during the design review for such facilities.
The project incorporates features that are designed to protect water quality and allow for regulated release of storm water into SSJID canals. The storm water drainage facilities associated with the project would meet all standards, regulations, and requirements of the city, SSJID, and RWQCB. Lastly, the project would implement BMPs to protect water quality during construction phases and design phases. Because specific issues pertaining to the project’s storm water quality or facility capacity were not identified, no further response can be provided.
C-2
The project applicant will replace irrigation and drainage facilities displaced by the project in accordance with SSJID requirements for construction, siting, and design.
C-3
The project applicant will ensure all improvements comply with SSJID current standards, drawings, and policies and all necessary permits will be obtained prior to project construction.
C-4
Any and all SSJID facilities that require abandonment, replacement, or relocation will be required to be done so in accordance with SSJID requirements.

C-5
The project applicant will be required to execute an Irrigation Service Abandonment Agreement, if necessary, and will provide for removal of irrigation and drainage facilities and structures on the project site no longer requiring irrigation service in accordance with SSJID standards. 
C-6
The project applicant will be required to dedicate easements for all SSJID facilities on current SSJID forms in accordance with SSJID requirements.
C-7
The project applicant will be required to submit improvement plans for off-site and on-site improvements for review and approval by the SSJID Board of Directors and all appropriate fees will be paid to SSJID.

C-8
The project applicant will be required to provide one complete set of “As Built” drawings to SSJID for their use. 
EDAW

Union Ranch Specific Plan Final EIR

Comments and Responses to Comments on the DEIR
2-22
City of Manteca

Union Ranch Specific Plan Final EIR

EDAW

City of Manteca
2-21
Comments and Responses to Comments on the DEIR


