Table of Contents

Chapter 1 – Executive Summary

PFF Program Summary

PFF Fee Summary

Chapter 2 – PFF Program Overview

PFIP Summary

PFF Summary

Overall Intent

PFF Principles

PFF Implementation

PFF Administration

Existing Deficiencies

Chapter 3 – PFF Water

Basis for PFF Water Fees

PFF Water Fees

PFF Water Policies

Chapter 4 – PFF Sewer

Basis for Sewer Fees

PFF Sewer Fees

PFF Sewer Policies

Chapter 5 – PFF Storm Drainage

Basis for PFF Storm Drainage Fees

PFF Storm Drainage Fees

PFF Storm Drainage Policies

Chapter 6 – PFF Transportation (not included in this report)

Basis for PFF Transportation Fees

PFF Transportation Fees

PFF Transportation Policies

CHAPTER 1 – EXECUTIVE SUMMARY

A.	PFF PROGRAM SUMMARY

B.	SUMMARY OF PFF FEES

Fees for major water, sewer and storm drainage infrastructure are based upon the capacity provided by each facility, the users’ anticipated demand, and the engineer’s current opinion of probable costs as outlined in this Report.  A summary of all PFF fees are summarized below:

CHAPTER 2 – PFF PROGRAM OVERVIEW

A.	SUMMARY OF THE PFIP

The City of Manteca (City) developed the Public Facilities Implementation Plan (PFIP) as the implementing program for specific public infrastructure policies identified in the City’s General Plan.  When it was originally adopted in 1993, the purpose of the PFIP was to ensure that certain public infrastructure needed for growth – namely water, wastewater, storm drainage and transportation facilities – were adequate as the City grew and developed in accordance with its General Plan.  Another purpose of the PFIP was to ensure that this infrastructure was constructed in a timely manner and financed in a manner that equitably divided financial responsibility in proportion to the demands placed on the new facilities.

The PFIP was developed as a reimbursement model program that utilized developers’ resources to fund and construct improvements.  Developers were reimbursed either in fee credits or with funds as they were accumulated from the imposed fees.  This method was successful in some aspects, but often required that developers fund substantial improvements with limited assurance of timely repayment.  This situation ultimately presented significant barriers to growth.

B.	SUMMARY OF THE PFF

The City now desires to replace the PFIP with an implementation program that removes barriers and facilitates growth.  The implementing program that will replace the PFIP will be a development impact fee model called the Public Facilities Fee (PFF) Program.  In the PFF Program the City assumes the responsibility of securing funding and constructing facilities, while the developers – in most cases – simply pay their proportionate share to reimburse the City for the cost to finance and construct the infrastructure.

Like the PFIP, the PFF also incorporates Capital Improvement Programs (CIPs) and/or utilities master plans for water, sewer and storm drainage as defined in Government Code §66002.  The basis for determination of costs and fees that are provided in this document are based, in part, upon findings and conclusions provided in the utilities master plans.  This PFF document and the various utilities master plans jointly identify the use to which the fee will be put, determine how there is a reasonable relationship between the fee’s use and the type of development project on which the fee is imposed and determine how there is a reasonable relationship between the need for the public facility and the type of development project on which the fee is imposed.

Only water, sewer and storm drainage facilities and their respective fees are developed in this version of the PFF.  Additional time is needed to prepare the PFF Transportation program due to the complexity of the transportation facilities.  Thus, a subsequent update of the PFF will address transportation facilities and its respective fee structures need to serve future growth.

C.	OVERALL INTENT

The overall intent of the City is to implement a development impact fee program that funds and constructs facilities needed for growth.  The City also intends for the update process for this development impact fee program to be flexible and responsive to changing conditions.  Careful consideration will be given to proposals submitted by landowners for interim or permanent solutions that better serve development opportunities within the overall constraint of General Plan and PFF goals and policies.  City staff is given administrative discretion to review, modify as appropriate or required, and approve alternate solutions that are consistent with overall City policies.

D.	PFF PRINCIPLES

1.	Development Impact Fee Model

The City will be responsible for arranging the funding and construction of most major facilities.  Developers will still be responsible to construct some utility infrastructure – namely some water and storm drainage infrastructure – as described elsewhere in this report.    Developers in most cases will simply pay their proportionate share to reimburse the City for the cost to finance and construct infrastructure needed for growth.

2.	Financing

Development impact fees offer a reliable source of financing that is within the control of the City to provide facilities to serve new development.  The City intends to participate aggressively in Regional, State, and Federal programs that may become available to finance public improvements.  However, the City is not prepared to depend on these sources to pay for public improvement projects that are essential to growth and development.  Thus to fund the required infrastructure, the City will utilize the following sources:

- Development Impact Fees paid pursuant to the PFF will be used to finance the expansion of facilities that are necessary to accommodate the demand for new capacity.  Fees could be due at the earliest of the following: issuance of building permit, filing of final subdivision map, or connection to the facilities.

- Inter-Account Borrowing, such as borrowing between City fee accounts when practical or employing other comparable devices, may be used if development impact fees, considered alone, are insufficient to build public improvements when required.

- Outside Financing, such as bonds or other public financing instruments may be utilized to fund larger facilities in advance of the fees that will retire any such accumulated debt. Any such funding will require participation by the specific beneficiaries in the form of land or other source of security to insure repayment.

3.	Facility Planning

The sequence of planning for increased capacity and expanded public water, sewer and storm improvements in the City is as follows:

- General Plan and accompanying growth management policies and ordinances are adopted.

- Facilities master plans are prepared or updated and conceptual engineering is developed to identify the new facilities/capacity that will be needed to serve the forecasted growth.

- Impact fees are determined for new developments’ share of the CIP projects.

E.	PFF IMPLEMENTATION

1.	Transitioning Existing Projects

All lots with an existing approved final map shall be excluded from the requirements of the PFF Program unless the City is authorized to impose the PFF pursuant to the terms of an existing Development Agreement, pursuant to an amendment of the existing Development Agreement or pursuant to another agreement.

Projects with an approved Vesting Tentative Map by which vested rights for the PFIP have been acquired, or a Development Agreement which does not authorize the City to impose the PFF, may request the City to revise said maps or amend such Development Agreements to become subject to the PFF.  Projects so doing may be relieved of obligations for the construction of wells and tanks.  Projects which remain under the current PFIP shall be obligated to meet all project conditions as specified in the existing project conditions, subdivision agreement or development agreement.

All projects not fully approved or entitled by the date of adoption of the PFF shall be subject to all the terms and conditions of the PFF.

2.	Existing PFIP Liabilities

Existing PFIP liabilities will be retired in the order outlined in the original PFIP from funds collected by the PFIP.  Upon payment of all outstanding debts, any remaining funds shall be distributed into the PFF funds as shown:

3.	Facility Construction

Projects will be constructed as demand occurs and are not rigidly tied to the calendar.  Thus, growth forecasts are not needed nor used in the PFF.  Accordingly, the timing of facility construction in this program is self-correcting in that:

- A slowdown in development produces a slower rate at which additional capacity will be demanded, as well as a slower rate at which development impact fees will be collected.  Consequently, the construction of facilities would slow down.

- As development increases, then development impact fees will be available sooner to construct improvements for which demand has occurred sooner than expected.  An excessive rate of development that is beyond that which could be accommodated because of lead time required to construct projects is unlikely because at some point, the limitations in the City Growth Management Ordinance would become effective.

E.	PFF ADMINISTRATION

1.	Payment of Fees

Payment of PFF fees is due at the time of issuance of building permit.  Payment of PFF fees at occupancy of a residential or commercial facility is not allowed, and the occupancy permit will not be issued until all fees are paid.

2.	Fee Adjustments

The City intends to review the PFF and each development impact fee resolution annually.  Any material change in development impact fees as a result of the monitoring and review of the program would be implemented as soon as feasible.  The PFF is subject to revision due to several factors.  These factors include the difficulty of forecasting the rate and location of development in the City, variations in the cost of construction of public improvements, and variation in the standards that may be applicable in the future to the design of public improvements.

Annual fee and reimbursement rate adjustments will be calculated in November of each year and will take effect in January of the following year for every year.  The automatic inflation adjustment to the fees and reimbursement rates will be based upon the preceding July 20-Cities ENR construction cost index.  Should the ENR be revised or discontinued, the Director of Finance will use the revised index or a comparable index, as approved by the City Council, for determining fluctuations in the cost of development.  Statute requires 60 days after adoption before fees become effective. Therefore, staff will need to process fee increases as early as possible to ensure new fees will be effective the following year.

3.	Monitoring Growth and Updating the PFF

The City intends to assure that the General Plan and the various master plans remain responsive to City policy and changing development conditions.  The City intends to review both the General Plan and the facility master plans on a five-year cycle.  Policies in an amended General Plan will be incorporated into all of the City facilities master plans and into each development impact fee Ordinance and Resolution.

F.	EXISTING DEFICIENCIES

If a facility improvement will remedy an existing deficiency and provide new capacity, then the cost of that facility will be allocated between new development and other financing sources as follows:

- The least-costly improvement to remedy the existing deficiency, in the absence of further growth, is identified.  This cost is assumed to be the responsibility of existing funding sources and is not financed from development impact fees.  The least costly improvement must be feasible and realistic.

- The cost to provide capacity for additional growth (i.e., the difference between the full cost of the improvement and the cost of the least costly improvement to remedy existing deficiencies) is financed from development impact fees.

- The only significant current deficiency that will be remedied in conjunction with an increase to capacity and will be funded, in part, with PFF fees is the replacement of the abandoned elevated water tank.  The existing tank is no longer in use due to structural deficiencies.  The City currently does not have an elevated storage, but it is anticipated that a new elevated water tank may be constructed after the PFF is approved.  The replacement tank may be larger than the existing tank, and the new additional capacity will be primarily used for new growth.