## A-1 Fee Summary
DRAFT - TABLE A-1 - DRAFT
DRAFT - SUMMARY OF REVISED PFIP WATER FEES - DRAFT
PFF Fees
Meter Size | Hydraulic Capacity Factor | Groundwater Supply Fee | Peaking Facility Fee | Distribution System Fee | Total
5/8" | 0.67 | 665.3357 | 786.703 | 461.4448 | 1913.4834
3/4" | 1 | 993.0383 | 1174.1835 | 688.7236 | 2855.9454
1" | 1.67 | 1658.374 | 1960.8865 | 1150.1684 | 4769.4289
1 1/2" | 3.33 | 3306.8176 | 3910.0311 | 2293.4495 | 9510.2983
2" | 5.33 | 5292.8943 | 6258.3981 | 3670.8967 | 15222.1891
3" | 10 | 9930.3833 | 11741.8351 | 6887.2358 | 28559.4542
4" | 16.67 | 16553.9489 | 19573.6392 | 11481.022 | 47608.6102
6" | 33.33 | 33097.9675 | 39135.5365 | 22955.1569 | 95188.6609
8" | 53.33 | 52958.7341 | 62619.2068 | 36729.6284 | 152307.5693
10" | 76.67 | 76136.2487 | 90024.65 | 52804.4367 | 218965.3355
Note: Assumes $2.5 million in current debt.
Note 2: Added 3/4" Meter and 10" meter 9/6/12

## A-1.1 Water Fee Calc Sum
Table 1 | [5 empty] | Internal
City of Manteca | [5 empty] | Working Draft - v2
PFF Water Fee | [5 empty] | 2012-08-20
Water Fee Calculation Summary
| Groundwater | Peaking | Distribution | XXXXX
| Supply | Facility | System | XXXXX |  | Source/
Description | Fee | Fee | Fee | XXXXX | Totals | Notes
PROJECT CONSTRUCTION COSTS
Capital Improvements Plan
Current Projects | 0 | 0 | 0 | 0 | 0
Future Projects | 1950000 | 3053000 | 20888999.9998 | 0 | 25891999.9998
Total Master Plan CIP (__/__/__ $) | 1950000 | 3053000 | 20888999.9998 | 0 | 25891999.9998
Soft Costs | 312000 | 488000 |  | 0 | 800000 | See Note (4)
Soft Cost % of Construction Costs | 16% | 15.98% | included | 0% | 3.09%
Additional CIP Costs - 2012/13 Budget | 0 | 0 | 0 | 0 | 0 | Forthcoming
Total PFF CIP | 2262000 | 3541000 | 20888999.9998 | 0 | 26691999.9998
% of PFF CIP | 8.474% | 13.27% | 78.26% | 0% | 100%
FINANCING COSTS
Total PFF CIP | 767943.7268 | 1202161.2452 | 7091766.8035 | 0 | 9061871.7756 | See Note (3)
Total Estimated Financing Costs | 767943.7268 | 1202161.2452 | 7091766.8035 | 0 | 9061871.7756
Finance Cost % of CIP | 33.95% | 33.95% | 33.95% | 0% | 33.95%
PFF ADMINISTRATION COSTS
Program Updates and On-Going Admin | 0 | 0 | 6981250 | 0 | 6981250
City Administrative Costs - Variable | 45240 | 70820 | 417780 | 0 | 533840 | See Note (5),(6)
Total PFF Admin Costs | 45240 | 70820 | 7399030 | 0 | 7515090
FUND BALANCES
Net Fund Balance (Deficit) | 0 | 0 | -2500000 | 0 | -2500000 | Table ___ - Forthcoming
Fees From Remaining PFIP Development | 0 | 0 | 0 | 0 | 0 | Forthcoming
Total Fund Balances | 0 | 0 | -2500000 | 0 | -2500000
Net Costs Funded From PFF Fee | 3075183.7268 | 4813981.2452 | 37879796.8034 | 0 | 45768961.7754
Total EDUs Served | 3096.7422 | 4099.8542 | 55000 | 0 | 62196.5965
Fee Per EDU | 993.0383 | 1174.1835 | 688.7236 | 0 | 2855.9454
| Note (1) |  | Note (6)
Notes:
(1) Groundwater fee based on the per EDU cost of one well.
(2) Assumes entire cost of current projects funded by 30 year debt service with 2.0% interest.
(3) Assumes 100% of PFF CIP costs are financed, see Table 6 for financing assumptions.
(4) Soft cost estimates shown in Tables A2-A9.
(5) City Admistrative Costs assumed to by 2% of PFF CIP costs.
(6) Distribution System Fee based on estimate of the cost of infrastructure to serve buildout.
(7) EDU = 660 gpd (200 per capita x 3.3 persons per household)

## A-2 Groundwater Sup Fee
TABLE A-2
GROUNDWATER SUPPLY FEE
Average Well Capacity |  | 1500 | gpm
Max Day Demand - Groundwater Only |  | 0.4212 | gpm
Redundancy Factor |  | 1.15
Total Groundwater Demand |  | 0.48438 | gpm/edu
Dwelling Units Served |  | 3096.7422 | EDU
CONSTRUCTION COSTS
Well Drilling and Development |  | 281000
Water Treatment |  | 900000 | Table A-3
Well Improvements |  | 765000 | Table A-4
Table A-5
Subtotal Construction Costs |  | 1950000
SOFT COSTS
Environmental / Planning | 3% | 58500
Design | 9% | 175500
Construction Management/Engineering | 4% | 78000
Subtotal Soft Costs |  | 312000
TOTAL COSTS |  | 2260000
Calculated Groundwater Fee |  | 729.7992
Groundwater Supply Fee |  | 730
Source: Max Day Demand per Table 2-6 of 2005 Water Master Plan

## A-3 Groundwater Sup Cost 1
TABLE A-3
GROUNDWATER SUPPLY
Opinion of Probable Cost
Well Drilling and Development
TEST WELL
Drill and develop |  | 40000
Sampling |  | 8000
Abandonment |  | 8000
Subtotal |  | 56000
Contingency | 100% | 56000
Subtotal Test Well |  | 112000
PRODUCTION WELL
Drill Case and Develop |  | 145000
Sampling |  | 2000
Subtotal |  | 147000
Contingency | 15% | 22050
Subtotal Production Well |  | 169050
TOTAL WELL DRILLING AND DEVELOPMENT COST |  | 281000
Source: City of Manteca.

## A-4 Groundwater Sup Cost 3
TABLE A-5
GROUNDWATER SUPPLY
Opinion of Probable Costs
Well Improvements
Earthwork |  | 23200
Paving |  | 34800
Fencing |  | 11800
Precast Vaults |  | 18750
Pump Pedestal |  | 3300
Reinforcing Steel |  | 8600
Well Building |  | 26700
CMU |  | 33000
Metal Fabrications |  | 5700
Carpentry |  | 24800
Roof |  | 7500
Flashing & Painting |  | 4000
Skylight |  | 4000
Doors & Hardware |  | 6200
Coating and Painting |  | 17700
Building Specialties |  | 4300
Louvers |  | 3900
Ventilation |  | 3700
Main Switchboard |  | 288300
Main Switchboard Inst. |  | 10000
Underground Rough-in |  | 22000
Under Slab Rough-in |  | 9000
Conduit & Fitting |  | 32000
Wire & Cables |  | 15000
Engine Generator |  | 117000
Generator Slab |  | 8300
Above Ground Fuel Tank |  | 20500
Subtotal |  | 764050
Contingency | 10% | 76405
Mobilization | 5% | 38202.5
Site Acquisition (5,000 SF) | $4/SF | 20000
TOTAL WELL IMPROVEMENTS COST |  | 900000
Source: City of Manteca.

## A-5 Groundwater Sup Cost 2
TABLE A - 4
GROUNDWATER SUPPLY
Opinion of Probable Costs
Water Treatment
Treatment Cost |  | 870000
Contingency | 15% | 130500
Total Water Treatment |  | 1000000
TOTAL WATER TREATMENT COST (See (1)) | 76.47% | 765000
(1) Based upon current ratio (13/17) of City wells requiring some form of treatment
Source: City of Manteca.

## A-6 Peaking Summary
TABLE A-6
PEAKING Summary
Tank Capacity |  | 1500000 | Gallons | 5400000 |  | 30 Year Financing
Emergancy Storage | 10% | 150000 | Gallons
Water available for Peak Hour Demand |  | 1350000 | Gallons
Average Day Demand |  | 0.49 | GPM
Peak Hour Factor |  | 2.8
Peak Hour Demand |  | 1.372 | GPM
Peak Hour Duration |  | 240 | Minutes | 3538010 |  | 117933.6667 | EDU/Year
Total Peak Hour Demand per EDU |  | 329.28 | Gallons
EDU's served |  | 4099.8542 |  | #REF! | Interest (30years @ 5%) | 3711017.9044
1.0 mg Storage Tank and Booster Pump Cost |  | 3540000 |  | #REF! | 3.6 MG Tank & Boosters | 3900000
Peaking Fee |  | 863.4453 |  | #REF! | Total | #REF!

## A-7 Peaking Costs
TABLE A-7
PEAKING COSTS
1.5 mg Storage Tank and Booster Pump
CONSTRUCTION COST
Site Prep. Clearing and Grubbing |  | 5000
Excavation, Shoring, Import and Earthwork |  | 50000
Paving and Site Work |  | 200000
Yard Piping and Appurtenances |  | 250000
Booster Pump and Control Building |  | 350000
Booster Pump Electrical |  | 350000
Standby Generator |  | 120000
SCADA |  | 25000
Tank |  | 1000000
Subtotal |  | 2350000
Site Acquisition |  | 350000
2 Acres @ 4$/SF
Mobilization | 5% | 117500
Contingency | 10% | 235000
Total Construction Cost |  | 3053000
SOFT COSTS
Environmental/Planning | 3% | 91590
Design | 9% | 274770
Construction Management/Engineering | 4% | 122120
Subtotal Soft Costs |  | 488000
TOTAL TANK AND BOOSTER PUMP |  | 3541000
Source: City of Manteca.

## A-8 Dist Summary
TABLE A-8
DISTRIBUTION SYSTEM SUMMARY
Reimbursement
Item | Length | Rate ($/LF) | Total Cost
12" pipe - Main Grid | 270000 | 58.65 | 15835499.9998
16"-18" pipe - Main Grid | 30000 | 82.2 | 2466000
12" Pipe - interior | 150000 | 17.25 | 2587500
Sub total Distribution System |  |  | 20888999.9998
Administrative Costs |  | 7% | 1462230
TOTAL DISTRIBUTION SYSTEM COST |  |  | 22351229.9998
Total number of EDUs supported |  |  | 55000
Calculated Distribution System Fee |  |  | 406.386
Distribution System Fee (Rounded) |  |  | 410
Source: City of Manteca.

## A-9 Dist Costs
TABLE A-9
DISTRIBUTION SYSTEM COSTS
Concept: |  |  | LF | Miles
Total Future Pipe to be Installed |  |  | 450000 | 85.2273
Main - one mile grid - 100% Reimbursement |  | 66.67% | 300000 | 56.8182
Interior grid - oversize reimbursement only |  | 33.33% | 150000 | 28.4091
Typical Costs to Install 8" Water Main | Amount | Unit Price ($/unit) | $
8" PVC Pipe - complete in place | 1000 | 18 | 18000
Gate Valves | 3 | 1500 | 4500
Hydrant Assembly | 3 | 3500 | 10500
Air Release Valves | 1 | 3000 | 3000
36000
Cost / LF with 5% contingency & 10% soft costs |  |  | 41.4
Typical Costs to Install 12" Water Main | Amount | Unit Price ($/unit) | $
12" PVC Pipe - complete in place | 1000 | 30 | 30000
Gate Valves | 3 | 2500 | 7500
Hydrant Assembly | 3 | 3500 | 10500
Air Release Valves | 1 | 3000 | 3000
51000
Cost / LF with 5% contingency & 10% soft costs |  |  | 58.65
Typical Costs to Install 16" or 18" Water Main | Amount | Unit Price ($/unit) | $
16" PVC Pipe - complete in place | 1000 | 46 | 46000
Butterfly Valves | 3 | 3000 | 9000
Hydrant Assembly | 3 | 3500 | 10500
Air Release Valves | 1 | 3000 | 3000
68500
Cost / LF with 10% contingency & 10% soft costs |  |  | 82.2
SOFT COSTS - Water Line only |  |  | 10%
Environmental - 2%, Design - 4%, Construction Management - 4%

## A10 (hidden)
TABLE A-10
REIMBURSEMENT of SOUTH COUNTY SURFACE WATER PROJECT DEVELOPMENT AND CONSTRUCTION COSTS
Phase 1 - South County Surface Water Project |  |  | 4436000
Preliminary Costs ( Environmental & Planning) |  |  | 5026000
Total borrowed from rate payers to fund SCSWP |  |  | 9462000
Percentage Due from New Construction |  | 37.3% | 3529326
Number of new meters for New Development |  |  | 10400
SCSWP Reimbursement Fee |  |  |  | 340
Note: Remainder of construction and property acquisition costs are covered by Bond, which is paid via separate fee
TABLE A-10
PFF - ADMINISTRATION - BURIED
| Total Cost | Frequency (yrs) | Annual Cost
Water MasterPlan Update | 250000 | 10 | 12500 |  | 12500
(Development Portion = 50% of total cost)
Survey network & Aerial Maps | 200000 | 10 | 5000 |  | 5000
Staff & Overhead
PW Admin - Sr Eng | 175000 | 1/8 FTE | 21875 | 50% | 87500
Finance - Proj Analyst | 150000 | 1/4 FTE | 37500 | 25% | 37500
Other Support Services |  |  | 10000 |  | 10000
Legal Support |  |  | 5000 |  | 5000
| Total Administration |  | 91875 |  | 157500
| Avg EDU / Year |  | 400 |  | 400
| Administration Fee |  | 230 |  | 390
|  |  | 7.233% |  | 12.26%
Historic Cost
| 2008 | 2009 | 2010
Revenue |  | 285628 | 401333
Expense
Admin Costs | 94414 | 106060 | 131135
Spec Dept Supplies |  | 7898 | 3361
Other Srvcs - Prof | 3812 | 2691 | 17478
Contract Services | 6047 |  | 1820
Maint Repairs |  |  | 211
Spet Dept Training
Data Processing |  | 760
Digital Map Products
| 104273 | 117409 | 154005
Difference |  | 168219 | 247328

## A-10 Finance Assumptions
Table 6 | Internal |  |  | ¦
City of Manteca | Working Draft - v2
PFF Water FeeStorm Drainage Collection Fee | 2012-08-20
Financing Assumpitons
Description | Amount
Annual Interest Rate | 2%
Term - Years | 30
Payments per year | 1
Loan Constant - Annual Debt Service (per $1,000) | 44.6499
Annual Debt Service: | 137306.7144
Annual Finance Cost (per $1,000) | 11.3166
Improvement Costs Financed | 3075183.7268
Total Costs Financed | 3075183.7268 | 100%
Cost Of Bond Issuance
Capitalized Interest Fund | 0
Reserve Fund | 0 | 0%
Issuance Costs | 0
Bond Counsel | 0
City's District Administration Fee | 0
Miscellaneous Costs of Issuance | 0
Total - Cost Of Bond Issuance | 0 | 0%
Total Bond Issue Size | 3075183.7268 | 100%
Check Total | 3075183.7268
Total Bond Issue Size - Rounded | 3080000
_
(1) Dollar amounts are in _________, 2012 dollars.
Source: City of Manteca.
Notes: Annual Finance Cost (per $1,000) = Loan constant at 2% - Loan Constant at 0%
Rangename: @ISSUANCE-COST
COST FACTORS FOR BOND ISSUANCE COSTS
| Fixed | Variable
Item | Component | Component | Comments
Capitalized Interest Fund | 0 | 0% | One year's interest
Reserve Fund | 0 | 0% | Maximum year's debt service
Underwriter's Discount | 0 | 0%
Bond Counsel | 0 | 0% | See Note (2)
City's District Administration Fee | 0 | 0
Miscellaneous Costs Of Issuance
Printing | 0 | 0
Trustee's Fee | 0 | 0
Miscellaneous Noticing Costs | 0 | 0
Contingency (3) | 0 | 0%
| __________ | __________
| 0 | 0%
Net Bond Proceeds | 3075183.7268 | 100%
Plus: Fixed Issuance Costs | 0 | 0%
Plus: Variable Issuance Costs | 0 | 0%
Total | 3075183.7268 | 100%
Notes:
(1) Dollar amounts are in January 1, _______ Dollars
(2) Bond Counsel's fee schedule for Assessment District bonds is
Effective Total Rate
| Rate For | Fixed | Variable
Range | The Range | Component | Component
$0 - $750,000 | 15000 | 15000 | 0%
$750,000 - $2,000,000 | 2% | 0 | 2%
$2,000,000 - $10,000,000 | 1% | 20000 | 1%
Over $10,000,000 | 0.5% | 70000 | 0.5%
(3) Contingency is calculated as 10% of all costs of issuance except Bond Counsel's Fee
and Underwriter's Discount.

## PFIP
PFIP UPDATE
Existing PFIP Deficit |  |  |  |  | -2176761.05 | from another file
Factor Additional Expense |  | 10% |  |  | -217676.105
Total anticipated PFIP Expense |  |  |  |  | -2394437.155
Estimated PFIP Lots Remaining (See below) |  |  |  |  | 1794
Existing PFIP |  |  |  |  | 1340
Estimated PFIP Revenue |  |  |  |  | 2403960
PFIP Final Balance |  |  |  |  | 9522.845
|  | Current |  | Anticipate | Lots
| Map | Approved | Credited | Move to | Contributing
| Approval | Lots | out of PFIP | PFF | to PFIP
Finished Lots
Dutra Estates 1-4 |  | 51 |  |  | 51
Ken Hill |  | 12 |  |  | 12
Paseo West |  | 54 |  |  | 54
Terra Bella |  | 117 |  |  | 117
Tesoro 2 |  | 222 |  |  | 222
Union Ranch 4a |  | 116 | 116 |  | 0
Union Ranch East |  | 192 | 144 |  | 48
|  | 764 | 260 | 0 | 504
Entitled - Unfinished Lots
Villa Tocino West | 2004-11-10 | 708 |  | 708 | 0
Dutra Estates | 2004-12-06 | 50 |  |  | 50
Union Ranch | 2005-08-01 | 778 | 778 |  | 0
Union Ranch East | 2005-08-01 | 203 |  |  | 203
Shadowbrook | 2006-01-17 | 497 |  |  | 497
Lundbom | 2006-08-07 | 21 |  |  | 21
Oleander | 2007-01-23 | 544 |  | 544 | 0
Sundance | 2007-01-23 | 451 |  | 451 | 0
Crivello Estates | 2009-06-06 | 62 |  |  | 62
Diego Country Estates | 2009-10-20 | 24 |  |  | 24
Winters Colonial | 2009-10-20 | 40 |  |  | 40
Evans Estates | 2010-02-02 | 586 |  | 586 | 0
Pillsbury | 2010-02-02 | 275 |  | 275 | 0
Silva Estates | 2010-05-18 | 93 |  |  | 93
|  | 4332 | 778 | 2564 | 990
Entitled - Apartments
Villa Tocino West Aparts | 2004-11-10 | 163 |  | 163 | 0
Tesoro Apartments | 2008-08-18 | 300 |  |  | 300
|  | 463 | 0 | 163 | 300
Total EDU's |  | 5559 | 1038 | 2727 | 1794
Peak Capacity (GPM) | 1.5263 | 8484.5905 | 1584.2786 | 4162.1656 | 2738.1463

## 3.6
30 Years = 285 EDU / Year |  | -253700.5968 | 5% | Units to | 20 Years = 450 EDU / Year |  | -312946.09 | 5%
| Calculated FEE = | #REF! |  | Cover Interest
Year | Balance | Interest | Principle |  | Year | Balance | Interest | Principle |  |  | 20 Year Financing
1 | 3900000 | 195000 | 58700.5968 | #REF! | 1 | 3900000 | 195000 | 117946.09 | 5400000
2 | 3841299.4032 | 192064.9702 | 61635.6267 | #REF! | 2 | 3782053.91 | 189102.6955 | 123843.3945
3 | 3779663.7765 | 188983.1888 | 64717.408 | #REF! | 3 | 3658210.5154 | 182910.5258 | 130035.5643 | 3538010 |  | 176900.5 | EDU/Year
4 | 3714946.3685 | 185747.3184 | 67953.2784 | #REF! | 4 | 3528174.9511 | 176408.7476 | 136537.3425
5 | 3646993.0902 | 182349.6545 | 71350.9423 | #REF! | 5 | 3391637.6087 | 169581.8804 | 143364.2096 | 7510706.161 | 3.6 MG Tank & Boosters | 3900000
6 | 3575642.1479 | 178782.1074 | 74918.4894 | #REF! | 6 | 3248273.399 | 162413.67 | 150532.4201
7 | 3500723.6584 | 175036.1829 | 78664.4139 | #REF! | 7 | 3097740.9789 | 154887.0489 | 158059.0411 | 2.1229 | Interest (30years @ 5%) | 2358921.8009
8 | 3422059.2445 | 171102.9622 | 82597.6346 | #REF! | 8 | 2939681.9379 | 146984.0969 | 165961.9932 |  | 4 Year Reserve | 1251784.3602
9 | 3339461.61 | 166973.0805 | 86727.5163 | #REF! | 9 | 2773719.9447 | 138685.9972 | 174260.0928 | 0 | Total | 7510706.161
10 | 3252734.0936 | 162636.7047 | 91063.8921 | #REF! | 10 | 2599459.8519 | 129972.9926 | 182973.0974
11 | 3161670.2015 | 158083.5101 | 95617.0867 | #REF! | 11 | 2416486.7544 | 120824.3377 | 192121.7523
12 | 3066053.1148 | 153302.6557 | 100397.9411 | #REF! | 12 | 2224365.0021 | 111218.2501 | 201727.8399 |  | Bills Quote | 3225000
13 | 2965655.1737 | 148282.7587 | 105417.8381 | #REF! | 13 | 2022637.1622 | 101131.8581 | 211814.2319 |  | Markup | 19.4%
14 | 2860237.3356 | 143011.8668 | 110688.73 | #REF! | 14 | 1810822.9302 | 90541.1465 | 222404.9435 |  |  | 625650
15 | 2749548.6055 | 137477.4303 | 116223.1665 | #REF! | 15 | 1588417.9867 | 79420.8993 | 233525.1907 |  | Total Cost | 3850650
16 | 2633325.439 | 131666.272 | 122034.3249 | #REF! | 16 | 1354892.796 | 67744.6398 | 245201.4502
17 | 2511291.1141 | 125564.5557 | 128136.0411 | #REF! | 17 | 1109691.3458 | 55484.5673 | 257461.5228 |  | Rounded | 3900000
18 | 2383155.073 | 119157.7537 | 134542.8432 | #REF! | 18 | 852229.823 | 42611.4912 | 270334.5989
19 | 2248612.2299 | 112430.6115 | 141269.9853 | #REF! | 19 | 581895.2241 | 29094.7612 | 283851.3288
20 | 2107342.2446 | 105367.1122 | 148333.4846 | #REF! | 20 | 298043.8953 | 14902.1948 | 298043.8953
21 | 1959008.76 | 97950.438 | 155750.1588 | #REF! | 21 | 5.2387e-10 | 2.6193e-11 | 312946.09
22 | 1803258.6012 | 90162.9301 | 163537.6668 | #REF!
23 | 1639720.9344 | 81986.0467 | 171714.5501 | #REF!
24 | 1468006.3843 | 73400.3192 | 180300.2776 | #REF!
25 | 1287706.1067 | 64385.3053 | 189315.2915 | #REF!
26 | 1098390.8152 | 54919.5408 | 198781.0561 | #REF!
27 | 899609.7592 | 44980.488 | 208720.1089 | #REF!
28 | 690889.6503 | 34544.4825 | 219156.1143 | #REF!
29 | 471733.536 | 23586.6768 | 230113.92 | #REF!
30 | 241619.616 | 12080.9808 | 241619.616 | #REF!
7.567e-10
|  | 3711017.9044 |  |  |  |  | 2358921.8009