Manteca Action Item List

From 12/12/12 PFIP meeting

- Provide a list of the projects that comprise the existing liabilities in PFIP water, sewer and storm, and provide an annual updates to this list.

- Add a policy to the PFIP regarding fee credits for infrastructure built by developers

- Chapter 2, Item E.2:  this policy notes that each fund will maintain a minimum balance of $200,000.  This policy needs clarification if the City’s intent is to continue to pay admin costs when the balance is $200,000 or less.

- Clarify how and when the City will provide updates to the PFIP.

- Chapter 2, Item G.3:  provide clarification as to the intent of upsizing.

- Chapter 3, Item B:  from the various density ranges, clarify what densities were actually used in the fee calculations.

- Clarify reimbursement for well sites.

- Clarify timeframe for City admin costs.

- Since storm runoff from the non-residential areas of Austin Road Business Park and from all of Oakwood Shores is not included in the PFIP, the PFIP storm map boundaries need to be revised.  Also, note this fact in the text.

- Chapter 6, Table 6-1:  make sure the runoff coefficients noted here are in sync with the Storm Drain Master Plan.

- Clarify the project soft costs throughout the document for consistency.

- Appendix C, Table E-3:  provide breakdown on costs for annual and 5-yr updates.

- Provide a policy for intra-account borrowing and inter-account borrowing.

- Replace all references for PFF to PFIP.

- Next meeting is Tuesday, January 8 @ 1:00 PM.