## Assumptions
City Header | City of Manteca
Report Header 1 | Internal
Report Header 2 | Working Draft - v11
Report Header 3 | 2013-02-18
Sewer Table Headers
Header 1 | PFF Sewer Collection Fee
File Reference:

## 1. Wastewater Fee Calc Sum
Table 1 | [8 empty] | Internal
City of Manteca | [8 empty] | Working Draft - v11
PFF Sewer Collection Fee | [8 empty] | 2013-02-18
Sewer Fee Calculation Summary
| Zone 21 | Zone 22 | Zone 23 | Zone 24 | Zone 25 | Zone 26 | Zone 41
| Cost | Cost | Cost | Cost | Cost | Cost | Cost |  | Source/
Description | Estimate | Estimate | Estimate | Estimate | Estimate | Estimate | Estimate | Totals | Notes
PROJECT CONSTRUCTION COSTS
Capital Improvements Plan
Current Projects | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Future Projects | 2085337 | 17048343 | 0 | 25602950 | 2643490 | 1606560 | 0 | 48986680 | See Table 2 for details
Total Master Plan CIP (July 2010 $) | 2085337 | 17048343 | 0 | 25602950 | 2643490 | 1606560 | 0 | 48986680
Soft Costs | 166826.96 | 1472067.44 | 0 | 2257796 | 258879.2 | 160364.8 | 0 | 4315934.4 | See Table 2 for details
Inflation Adjustment to 2012 $ | 122234.1362 | 1005178.3142 | 0 | 1512116.4722 | 157523.4301 | 95898.2252 | 0 | 2892950.578 | See Note (9)
Total PFF CIP | 2374398.0962 | 19525588.7542 | 0 | 29372862.4722 | 3059892.6301 | 1862823.0252 | 0 | 56195564.978
% of PFF CIP | 4.225% | 34.75% | 0% | 52.27% | 5.445% | 3.315% | 0% | 100%
FINANCING COSTS COSTS
Total PFF CIP
Total Estimated Financing Costs | 707967.0502 | 5787872.7054 | 0 | 8692141.8395 | 897458.6925 | 545423.3748 | 0 | 16630863.6624 | See Note (2)
Finance Cost % of CIP | 707967.0502 | 5787872.7054 | 0 | 8692141.8395 | 897458.6925 | 545423.3748 | 0 | 16630863.6624
| 33.95% | 33.95% | 0% | 33.95% | 33.95% | 33.95% | 0%
PFF ADMINISTRATION COSTS
Program Updates and On-Going Admin | 141014.7802 | 1159618.7732 | 0 | 1744445.3621 | 181726.092 | 110632.4925 | 0 | 3337437.5 | See Note (6)
City Administrative Costs - Variable | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | See Note (5)
Total PFF Admin Costs | 141014.7802 | 1159618.7732 | 0 | 1744445.3621 | 181726.092 | 110632.4925 | 0 | 3337437.5
FUND BALANCES
Net Fund Balance (Deficit) | 48081.27 | -1832533.98 | 0 | -3758396.12 | -8920 | 0 | 0 | -5551768.83 | Updated 6/30/2012 Balance
Fees From Remainig PFIP Development | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total Fund Balances | 48081.27 | -1832533.98 | 0 | -3758396.12 | -8920 | 0 | 0 | -5551768.83
Net Costs Funded From PFF Fee | 3175298.6566 | 28305614.2129 | 0 | 43567845.7938 | 4147997.4146 | 2518878.8925 | 0 | 81715634.9704
Capacity Provided (GPD) | 698809.9602 | 2092409.5708 | 0 | 3969703.1684 | 873715.5131 | 265666.56 | 0 | 7900304.7725
Fee Per Gallon | 4.5439 | 13.5278 | n/a | 10.9751 | 4.7475 | 9.4814 | n/a
Oversizing Offset (Per Gallon) | -2.8125 | -2.8125 | -2.8125 | -2.8125 | -2.8125 | -2.8125 |  |  | See Note (7)
Net Sewer Fee Per Gallon After Offset | 1.7314 | 10.7153 | #VALUE! | 8.1626 | 1.935 | 6.6689
Capacity Provided (EDUs = DU Basis) | 4367.5623 | 13077.5598 | 0 | 24810.6448 | 5460.722 | 1660.416 | 0 | 49376.9048
Fee EDU (Units) | 727.0185 | 2164.4416 | n/a | 1756.0142 | 759.606 | 1517.0168 | n/a
Oversizing Offset (Per EDU) | -450 | -450 | -450 | -450 | -450 | -450 |  |  | See Note (8)
Net Sewer Fee Per EDU After Offset | 277.0185 | 1714.4416 | #VALUE! | 1306.0142 | 309.606 | 1067.0168
Capacity Provided (EDUs = Acre Basis) | 864.8638 | 2589.6158 | 0 | 4912.999 | 1081.3311 | 328.7952 | 0 | 9777.6049
Fee EDU (Acres) | 3671.4435 | 10930.43 | n/a | 8867.872 | 3836.0105 | 7660.9346 | n/a
Notes:
(1) Woodward Park project completed and reflected in beginning fund balances.
(2) Assumes entire cost of current projects funded by 30 year debt service with 2.0% interest, see Table 5 for calculation details.
(3) Assumes 100% of PFF CIP costs are financed, see Table 6 for financing assumptions.
(4) Contingency estimate of 10% built into the construction costs, soft costs detailed in Table 2.
(5) City Administrative Costs - Variable assumed to be 0.0% of PFF CIP costs.
(6) For details of Program Updates and On-Going Admin see Tables 1-3 in General section.
(7) 50% of oversizing charge offset Sewer Fee ($900 * 50%) / 160 gpd = $2.81 offset per gallon
(8) 50% of oversizing charge offset Sewer Fee ($900 * 50%) = $450 offset per EDU
(9) CIP costs based on July 2010 ENR (8844) were adjusted to July 2012 ENR (9324).

## 1.1 Fee Summary By Land use
Table 1.1 | [34 empty] | Internal
City of Manteca | [34 empty] | Working Draft - v11
PFF Sewer Collection Fee | [34 empty] | 2013-02-18
EDU Factors
[37 empty] | Check Development - Acres | [6 empty] | check revenue | [6 empty] | Check Development - EDU | [6 empty] | check revenue | [7 empty] | Check Development - GPD | [6 empty] | check revenue
|  |  | Fee Per Acre | [8 empty] | Fee Per Unit | [8 empty] | Fee Per Acre | [8 empty] | Fee Per Unit
Land Use | Units | EDU Factor (per acre) | Zone 21 | Zone 22 | Zone 23 | Zone 24 | Zone 25 | Zone 26 | Zone 41 | Units | EDU Factor (per unit) | Zone 21 | Zone 22 | Zone 23 | Zone 24 | Zone 25 | Zone 26 | Zone 41 | Units | GPD (per acre) | Zone 21 | Zone 22 | Zone 23 | Zone 24 | Zone 25 | Zone 26 | Zone 41 | Units | Units Per Acre | Zone 21 | Zone 22 | Zone 23 | Zone 24 | Zone 25 | Zone 26 | Zone 41 | Zone 21 | Zone 22 | Zone 23 | Zone 24 | Zone 25 | Zone 26 | Totals | Zone 21 | Zone 22 | Zone 23 | Zone 24 | Zone 25 | Zone 26 | Totals | Zone 21 | Zone 22 | Zone 23 | Zone 24 | Zone 25 | Zone 26 | Totals | Zone 21 | Zone 22 | Zone 23 | Zone 24 | Zone 25 | Zone 26 | Totals |  | Zone 21 | Zone 22 | Zone 23 | Zone 24 | Zone 25 | Zone 26 | Totals | Zone 21 | Zone 22 | Zone 23 | Zone 24 | Zone 25 | Zone 26 | Totals
Fee Per Gallon: |  |  | 3671.4435 | 10930.43 | n/a | 8867.872 | 3836.0105 | 7660.9346 | n/a |  |  | 727.0185 | 2164.4416 | n/a | 1756.0142 | 759.606 | 1517.0168 | n/a |  |  | 1.7314 | 10.7153 | #VALUE! | 8.1626 | 1.935 | 6.6689 | n/a
AG | Acre | 0 | 0 | 0 | n/a | 0 | 0 | 0 | n/a | Acre | 0 | 0 | 0 | n/a | 0 | 0 | 0 | n/a | Acre | 0 | 0 | 0 | #VALUE! | 0 | 0 | 0 | n/a | Acre | 0 | 0 | 0 | #VALUE! | 0 | 0 | 0 | n/a | 0 | 3385.3007 |  | 111.4787 | 191.4289 | 0 | 3688.2083 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0
BIP | Acre | 1.4851 | 5452.6389 | 16233.3118 | n/a | 13170.1069 | 5697.0453 | 11377.6257 | n/a | Acre | 7.5 | 5452.6389 | 16233.3118 | n/a | 13170.1069 | 5697.0453 | 11377.6257 | n/a | Acre | 1200 | 2077.6389 | 12858.3118 | #VALUE! | 9795.1069 | 2322.0453 | 8002.6257 | n/a | Acre | 1 | 2077.6389 | 12858.3118 | #VALUE! | 9795.1069 | 2322.0453 | 8002.6257 | n/a | 0 | 0 |  | 44.6599 | 135.3244 | 0 | 179.9843 | 0 | 0 |  | 588175.7873 | 770949.2716 | 0 | 1359125.059 | 0 | 0 |  | 334.9493 | 1014.933 | 0 | 1349.8824 | 0 | 0 |  | 588175.7873 | 770949.2716 | 0 | 1359125.059 | 0 | 0 | 0 |  | 53591.892 | 162389.286 | 0 | 215981.178 | 0 | 0 |  | 437448.5911 | 314229.4048 | 0 | 751677.9958 | -607447.0631
CMU | Acre | 3.0606 | 11236.98 | 33454.1501 | n/a | 27141.3952 | 11740.6609 | 23447.3902 | n/a | Acre | 15.4563 | 11236.98 | 33454.1501 | n/a | 27141.3952 | 11740.6609 | 23447.3902 | n/a | Acre | 2473 | 4281.6675 | 26498.8376 | #VALUE! | 20186.0827 | 4785.3484 | 16492.0777 | n/a | Acre | 1 | 4281.6675 | 26498.8376 | #VALUE! | 20186.0827 | 4785.3484 | 16492.0777 | n/a | 126.6415 | 29.2923 |  | 162.7524 | 0 | 0 | 318.6862 | 1423068.2219 | 979949.3369 |  | 4417326.752 | 0 | 0 | 6820344.3107 | 1957.403 | 452.7493 |  | 2515.5415 | 0 | 0 | 4925.6938 | 1423068.2219 | 979949.3369 |  | 4417326.752 | 0 | 0 | 6820344.3107 | 0 | 313184.4765 | 72439.8826 |  | 402486.6432 | 0 | 0 | 788111.0023 | 542236.8818 | 776212.167 |  | 3285333.0681 | 0 | 0 | 4603782.1168 | -2216562.1939
GC | Acre | 0.92822 | 3407.8993 | 10145.8199 | n/a | 8231.3168 | 3560.6533 | 7111.016 | n/a | Acre | 4.6875 | 3407.8993 | 10145.8199 | n/a | 8231.3168 | 3560.6533 | 7111.016 | n/a | Acre | 750 | 1298.5243 | 8036.4449 | #VALUE! | 6121.9418 | 1451.2783 | 5001.641 | n/a | Acre | 1 | 1298.5243 | 8036.4449 | #VALUE! | 6121.9418 | 1451.2783 | 5001.641 | n/a | 46.6868 | 18.7611 |  | 320.1093 | 78.5645 | 57.88 | 522.0017 | 159103.9109 | 190347.0664 |  | 2634920.949 | 279740.8924 | 411585.6084 | 3675698.4271 | 218.8444 | 87.9428 |  | 1500.5123 | 368.271 | 271.3125 | 2446.883 | 159103.9109 | 190347.0664 |  | 2634920.949 | 279740.8924 | 411585.6084 | 3675698.4271 | 0 | 35015.0992 | 14070.849 |  | 240081.9653 | 58923.363 | 43410 | 391501.2765 | 60623.9442 | 150772.8036 |  | 1959690.4218 | 114018.934 | 289494.9834 | 2574601.0869 | -1101097.3402
HDR | Acre | 2.8923 | 10619.0143 | 31614.3748 | n/a | 25648.7831 | 11094.9958 | 22157.926 | n/a | Dwelling Unit | 0.73125 | 531.6323 | 1582.7479 | n/a | 1284.0854 | 555.4619 | 1109.3185 | n/a | Acre | 2337 | 4046.2018 | 25041.5623 | #VALUE! | 19075.9706 | 4522.1833 | 15585.1135 | n/a | Dwelling Unit | 19.9744 | 202.5698 | 1253.6854 | #VALUE! | 955.0229 | 226.3994 | 780.256 | n/a | 34.9124 | 25.6662 |  | 68.2732 | 18.722 | 0 | 147.5738 | 370735.1687 | 811420.2343 |  | 1751125.1666 | 207720.9332 | 0 | 3141001.5028 | 509.9391 | 374.8866 |  | 997.2158 | 273.4588 | 0 | 2155.5003 | 370735.1687 | 811420.2343 |  | 1751125.1666 | 207720.9332 | 0 | 3141001.5028 | 0 | 81590.2554 | 59981.8627 |  | 159554.5292 | 43753.4028 | 0 | 344880.0501 | 141262.5753 | 642721.2456 |  | 1302378.0533 | 84664.4878 | 0 | 2171026.362 | -969975.1408
HI | Acre | 1.2376 | 4543.8658 | 13527.7599 | n/a | 10975.0891 | 4747.5378 | 9481.3547 | n/a | Acre | 6.25 | 4543.8658 | 13527.7599 | n/a | 10975.0891 | 4747.5378 | 9481.3547 | n/a | Acre | 1000 | 1731.3658 | 10715.2599 | #VALUE! | 8162.5891 | 1935.0378 | 6668.8547 | n/a | Acre | 1 | 1731.3658 | 10715.2599 | #VALUE! | 8162.5891 | 1935.0378 | 6668.8547 | n/a | 0 | 175.1279 |  | 563.7922 | 0 | 0 | 738.9201 | 0 | 2369087.8792 |  | 6187669.6472 | 0 | 0 | 8556757.5264 | 0 | 1094.5492 |  | 3523.7013 | 0 | 0 | 4618.2505 | 0 | 2369087.8792 |  | 6187669.6472 | 0 | 0 | 8556757.5264 | 0 | 0 | 175127.878 |  | 563792.204 | 0 | 0 | 738920.082 | 0 | 1876540.7224 |  | 4602004.0734 | 0 | 0 | 6478544.7958 | -2078212.7306
LDR | Acre | 1 | 3671.4435 | 10930.43 | n/a | 8867.872 | 3836.0105 | 7660.9346 | n/a | Dwelling Unit | 1 | 727.0185 | 2164.4416 | n/a | 1756.0142 | 759.606 | 1517.0168 | n/a | Acre | 808 | 1398.9435 | 8657.93 | #VALUE! | 6595.372 | 1563.5105 | 5388.4346 | n/a | Dwelling Unit | 5.05 | 277.0185 | 1714.4416 | #VALUE! | 1306.0142 | 309.606 | 1067.0168 | n/a | 162.0994 | 1033.0335 |  | 1934.0595 | 545.7898 | 275.07 | 3950.0522 | 595138.9787 | 11291499.8155 |  | 17150992.1966 | 2093655.3716 | 2107293.2841 | 33238579.6465 | 818.6022 | 5216.8189 |  | 9767.0006 | 2756.2384 | 1389.1035 | 19947.7637 | 595138.9787 | 11291499.8155 |  | 17150992.1966 | 2093655.3716 | 2107293.2841 | 33238579.6465 | 0 | 130976.3556 | 834691.03 |  | 1562720.0938 | 440998.1479 | 222256.56 | 3191642.1873 | 226767.9786 | 8943931.2936 |  | 12755841.9328 | 853348.0806 | 1482196.7091 | 24262085.9947 | -8976493.6518
LI | Acre | 1.2376 | 4543.8658 | 13527.7599 | n/a | 10975.0891 | 4747.5378 | 9481.3547 | n/a | Acre | 6.25 | 4543.8658 | 13527.7599 | n/a | 10975.0891 | 4747.5378 | 9481.3547 | n/a | Acre | 1000 | 1731.3658 | 10715.2599 | #VALUE! | 8162.5891 | 1935.0378 | 6668.8547 | n/a | Acre | 1 | 1731.3658 | 10715.2599 | #VALUE! | 8162.5891 | 1935.0378 | 6668.8547 | n/a | 42.5116 | 527.8424 |  | 180.0213 | 0 | 0 | 750.3752 | 193167.0085 | 7140524.6791 |  | 1975749.3712 | 0 | 0 | 9309441.0588 | 265.6975 | 3299.0147 |  | 1125.1329 | 0 | 0 | 4689.8451 | 193167.0085 | 7140524.6791 |  | 1975749.3712 | 0 | 0 | 9309441.0588 | 0 | 42511.601 | 527842.359 |  | 180021.261 | 0 | 0 | 750375.221 | 73603.1307 | 5655968.0444 |  | 1469439.5746 | 0 | 0 | 7199010.7497 | -2110430.3091
MDR | Acre | 1.6658 | 6116.0433 | 18208.3648 | n/a | 14772.4699 | 6390.1859 | 12761.9035 | n/a | Dwelling Unit | 0.73125 | 531.6323 | 1582.7479 | n/a | 1284.0854 | 555.4619 | 1109.3185 | n/a | Acre | 1346 | 2330.4183 | 14422.7398 | #VALUE! | 10986.8449 | 2604.5609 | 8976.2785 | n/a | Dwelling Unit | 11.5043 | 202.5698 | 1253.6854 | #VALUE! | 955.0229 | 226.3994 | 780.256 | n/a | 55.915 | 19.0973 |  | 113.5767 | 48.9758 | 0 | 237.5647 | 341978.3545 | 347730.4954 |  | 1677808.3932 | 312964.3689 | 0 | 2680481.612 | 470.3847 | 160.656 |  | 955.464 | 412.0088 | 0 | 1998.5134 | 341978.3545 | 347730.4954 |  | 1677808.3932 | 312964.3689 | 0 | 2680481.612 | 0 | 75261.5442 | 25704.9577 |  | 152874.2395 | 65921.4066 | 0 | 319762.1481 | 130305.2614 | 275435.3018 |  | 1247849.5944 | 127560.4128 | 0 | 1781150.5705 | -899331.0416
NC | Acre | 1.3861 | 5089.1297 | 15151.091 | n/a | 12292.0997 | 5317.2423 | 10619.1173 | n/a | Acre | 7 | 5089.1297 | 15151.091 | n/a | 12292.0997 | 5317.2423 | 10619.1173 | n/a | Acre | 1120 | 1939.1297 | 12001.091 | #VALUE! | 9142.0997 | 2167.2423 | 7469.1173 | n/a | Acre | 1 | 1939.1297 | 12001.091 | #VALUE! | 9142.0997 | 2167.2423 | 7469.1173 | n/a | 13.0917 | 22.486 |  | 20.5254 | 0 | 0 | 56.1031 | 66625.1959 | 340686.8576 |  | 252300.6328 | 0 | 0 | 659612.6863 | 91.6417 | 157.4017 |  | 143.678 | 0 | 0 | 392.7214 | 66625.1959 | 340686.8576 |  | 252300.6328 | 0 | 0 | 659612.6863 | 0 | 14662.6682 | 25184.2774 |  | 22988.4816 | 0 | 0 | 62835.4272 | 25386.4417 | 269856.0773 |  | 187645.5283 | 0 | 0 | 482888.0473 | -176724.639
OS | Acre | 0 | 0 | 0 | n/a | 0 | 0 | 0 | n/a | Acre | 0 | 0 | 0 | n/a | 0 | 0 | 0 | n/a | Acre | 0 | 0 | 0 | #VALUE! | 0 | 0 | 0 | n/a | Acre | 1 | 0 | 0 | #VALUE! | 0 | 0 | 0 | n/a | 0 | 15.3685 |  | 0 | 428.9815 | 0 | 444.35 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0
P | Acre | 0.49505 | 1817.5463 | 5411.1039 | n/a | 4390.0356 | 1899.0151 | 3792.5419 | n/a | Acre | 2.5 | 1817.5463 | 5411.1039 | n/a | 4390.0356 | 1899.0151 | 3792.5419 | n/a | Acre | 400 | 692.5463 | 4286.1039 | #VALUE! | 3265.0356 | 774.0151 | 2667.5419 | n/a | Acre | 1 | 692.5463 | 4286.1039 | #VALUE! | 3265.0356 | 774.0151 | 2667.5419 | n/a | 8.6079 | 44.27 |  | 108.3517 | 0 | 0 | 161.2297 | 15645.315 | 239549.8206 |  | 475667.8446 | 0 | 0 | 730862.9803 | 21.5198 | 110.6751 |  | 270.8793 | 0 | 0 | 403.0742 | 15645.315 | 239549.8206 |  | 475667.8446 | 0 | 0 | 730862.9803 | 0 | 3443.1728 | 17708.0184 |  | 43340.682 | 0 | 0 | 64491.8732 | 5961.3915 | 189746.0188 |  | 353772.1765 | 0 | 0 | 549479.5869 | -181383.3934
PQP | Acre | 0.52599 | 1931.143 | 5749.2979 | n/a | 4664.4128 | 2017.7036 | 4029.5758 | n/a | Acre | 2.6562 | 1931.143 | 5749.2979 | n/a | 4664.4128 | 2017.7036 | 4029.5758 | n/a | Acre | 425 | 735.8305 | 4553.9854 | #VALUE! | 3469.1003 | 822.3911 | 2834.2633 | n/a | Acre | 1 | 735.8305 | 4553.9854 | #VALUE! | 3469.1003 | 822.3911 | 2834.2633 | n/a | 0 | 157.1758 |  | 85.0424 | 0 | 0 | 242.2181 | 0 | 903650.2506 |  | 396672.7886 | 0 | 0 | 1300323.0392 | 0 | 417.4981 |  | 225.8938 | 0 | 0 | 643.3919 | 0 | 903650.2506 |  | 396672.7886 | 0 | 0 | 1300323.0392 | 0 | 0 | 66799.6963 |  | 36143.0132 | 0 | 0 | 102942.7095 | 0 | 715776.1047 |  | 295020.5639 | 0 | 0 | 1010796.6687 | -289526.3705
UR | Acre | 0.39604 | 1454.037 | 4328.8832 | n/a | 3512.0285 | 1519.2121 | 3034.0335 | n/a | Acre | 2 | 1454.037 | 4328.8832 | n/a | 3512.0285 | 1519.2121 | 3034.0335 | n/a | Acre | 320 | 554.037 | 3428.8832 | #VALUE! | 2612.0285 | 619.2121 | 2134.0335 | n/a | Acre | 1 | 554.037 | 3428.8832 | #VALUE! | 2612.0285 | 619.2121 | 2134.0335 | n/a | 0 | 115.7075 |  | 226.1106 | 0 | 0 | 341.8181 | 0 | 500884.2634 |  | 794106.6959 | 0 | 0 | 1294990.9593 | 0 | 231.415 |  | 452.2211 | 0 | 0 | 683.6361 | 0 | 500884.2634 |  | 794106.6959 | 0 | 0 | 1294990.9593 | 0 | 0 | 37026.4012 |  | 72355.3761 | 0 | 0 | 109381.7772 | 0 | 396747.5102 |  | 590607.2007 | 0 | 0 | 987354.7109 | -307636.2484
UR-AG | Acre | 0 | 0 | 0 | n/a | 0 | 0 | 0 | n/a | Acre | 0 | 0 | 0 | n/a | 0 | 0 | 0 | n/a | Acre | 0 | 0 | 0 | #VALUE! | 0 | 0 | 0 | n/a | Acre | 0 | 0 | 0 | #VALUE! | 0 | 0 | 0 | n/a | 0 | 230.531 |  | 91.8392 | 0 | 0 | 322.3702 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0
UR-BIP | Acre | 1.4851 | 5452.6389 | 16233.3118 | n/a | 13170.1069 | 5697.0453 | 11377.6257 | n/a | Acre | 7.5 | 5452.6389 | 16233.3118 | n/a | 13170.1069 | 5697.0453 | 11377.6257 | n/a | Acre | 1200 | 2077.6389 | 12858.3118 | #VALUE! | 9795.1069 | 2322.0453 | 8002.6257 | n/a | Acre | 1 | 2077.6389 | 12858.3118 | #VALUE! | 9795.1069 | 2322.0453 | 8002.6257 | n/a | 0 | 0 |  | 67.7396 | 14.0006 | 0 | 81.7401 | 0 | 0 |  | 892137.5998 | 79761.7933 | 0 | 971899.3931 | 0 | 0 |  | 508.0469 | 105.0042 | 0 | 613.0511 | 0 | 0 |  | 892137.5998 | 79761.7933 | 0 | 971899.3931 | 0 | 0 | 0 |  | 81287.5044 | 16800.6653 | 0 | 98088.1697 | 0 | 0 |  | 663516.4937 | 32509.9222 | 0 | 696026.4159 | -275872.9772
UR-CMU | Acre | 3.0606 | 11236.98 | 33454.1501 | n/a | 27141.3952 | 11740.6609 | 23447.3902 | n/a | Acre | 15.4563 | 11236.98 | 33454.1501 | n/a | 27141.3952 | 11740.6609 | 23447.3902 | n/a | Acre | 2473 | 4281.6675 | 26498.8376 | #VALUE! | 20186.0827 | 4785.3484 | 16492.0777 | n/a | Acre | 1 | 4281.6675 | 26498.8376 | #VALUE! | 20186.0827 | 4785.3484 | 16492.0777 | n/a | 0 | 8.6116 |  | 58.7525 | 19.762 | 0 | 87.126 | 0 | 288092.4012 |  | 1594624.8505 | 232018.4861 | 0 | 2114735.7378 | 0 | 133.1024 |  | 908.0933 | 305.4458 | 0 | 1346.6416 | 0 | 288092.4012 |  | 1594624.8505 | 232018.4861 | 0 | 2114735.7378 | 0 | 0 | 21296.3864 |  | 145294.935 | 48871.33 | 0 | 215462.6514 | 0 | 228196.3144 |  | 1185982.8459 | 94567.8704 | 0 | 1508747.0307 | -605988.7071
UR-GC | Acre | 0.92822 | 3407.8993 | 10145.8199 | n/a | 8231.3168 | 3560.6533 | 7111.016 | n/a | Acre | 4.6875 | 3407.8993 | 10145.8199 | n/a | 8231.3168 | 3560.6533 | 7111.016 | n/a | Acre | 750 | 1298.5243 | 8036.4449 | #VALUE! | 6121.9418 | 1451.2783 | 5001.641 | n/a | Acre | 1 | 1298.5243 | 8036.4449 | #VALUE! | 6121.9418 | 1451.2783 | 5001.641 | n/a | 0 | 8.087 |  | 0 | 0 | 0 | 8.087 | 0 | 82048.8356 |  | 0 | 0 | 0 | 82048.8356 | 0 | 37.9076 |  | 0 | 0 | 0 | 37.9076 | 0 | 82048.8356 |  | 0 | 0 | 0 | 82048.8356 | 0 | 0 | 6065.2197 |  | 0 | 0 | 0 | 6065.2197 | 0 | 64990.4052 |  | 0 | 0 | 0 | 64990.4052 | -17058.4304
UR-LDR | Acre | 1 | 3671.4435 | 10930.43 | n/a | 8867.872 | 3836.0105 | 7660.9346 | n/a | Dwelling Unit | 1 | 727.0185 | 2164.4416 | n/a | 1756.0142 | 759.606 | 1517.0168 | n/a | Acre | 808 | 1398.9435 | 8657.93 | #VALUE! | 6595.372 | 1563.5105 | 5388.4346 | n/a | Dwelling Unit | 5.05 | 277.0185 | 1714.4416 | #VALUE! | 1306.0142 | 309.606 | 1067.0168 | n/a | 0 | 150.8749 |  | 96.292 | 29.1039 | 0 | 276.2708 | 0 | 1649127.9289 |  | 853905.3995 | 111642.7833 | 0 | 2614676.1117 | 0 | 761.9184 |  | 486.2748 | 146.9746 | 0 | 1395.1678 | 0 | 1649127.9289 |  | 853905.3995 | 111642.7833 | 0 | 2614676.1117 | 0 | 0 | 121906.9488 |  | 77803.9609 | 23515.9336 | 0 | 223226.8432 | 0 | 1306264.6354 |  | 635081.7595 | 45504.2201 | 0 | 1986850.6151 | -627825.4966
UR-LI | Acre | 0.74257 | 2726.3195 | 8116.6559 | n/a | 6585.0534 | 2848.5227 | 5688.8128 | n/a | Acre | 3.75 | 2726.3195 | 8116.6559 | n/a | 6585.0534 | 2848.5227 | 5688.8128 | n/a | Acre | 600 | 1038.8195 | 6429.1559 | #VALUE! | 4897.5534 | 1161.0227 | 4001.3128 | n/a | Acre | 1 | 1038.8195 | 6429.1559 | #VALUE! | 4897.5534 | 1161.0227 | 4001.3128 | n/a | 0 | 22.8899 |  | 0 | 0 | 0 | 22.8899 | 0 | 185789.3936 |  | 0 | 0 | 0 | 185789.3936 | 0 | 85.8371 |  | 0 | 0 | 0 | 85.8371 | 0 | 185789.3936 |  | 0 | 0 | 0 | 185789.3936 | 0 | 0 | 13733.9364 |  | 0 | 0 | 0 | 13733.9364 | 0 | 147162.6975 |  | 0 | 0 | 0 | 147162.6975 | -38626.6961
UR-MDR | Acre | 1.6658 | 6116.0433 | 18208.3648 | n/a | 14772.4699 | 6390.1859 | 12761.9035 | n/a | Dwelling Unit | 0.73125 | 531.6323 | 1582.7479 | n/a | 1284.0854 | 555.4619 | 1109.3185 | n/a | Acre | 1346 | 2330.4183 | 14422.7398 | #VALUE! | 10986.8449 | 2604.5609 | 8976.2785 | n/a | Dwelling Unit | 11.5043 | 202.5698 | 1253.6854 | #VALUE! | 955.0229 | 226.3994 | 780.256 | n/a | 0 | 3.9472 |  | 0 | 0 | 0 | 3.9472 | 0 | 71872.7567 |  | 0 | 0 | 0 | 71872.7567 | 0 | 33.2061 |  | 0 | 0 | 0 | 33.2061 | 0 | 71872.7567 |  | 0 | 0 | 0 | 71872.7567 | 0 | 0 | 5312.9829 |  | 0 | 0 | 0 | 5312.9829 | 0 | 56929.9923 |  | 0 | 0 | 0 | 56929.9923 | -14942.7644
UR-P | Acre | 0.49505 | 1817.5463 | 5411.1039 | n/a | 4390.0356 | 1899.0151 | 3792.5419 | n/a | Acre | 2.5 | 1817.5463 | 5411.1039 | n/a | 4390.0356 | 1899.0151 | 3792.5419 | n/a | Acre | 400 | 692.5463 | 4286.1039 | #VALUE! | 3265.0356 | 774.0151 | 2667.5419 | n/a | Acre | 1 | 692.5463 | 4286.1039 | #VALUE! | 3265.0356 | 774.0151 | 2667.5419 | n/a | 0 | 7.5122 |  | 5.9921 | 0 | 0 | 13.5043 | 0 | 40649.2496 |  | 26305.4666 | 0 | 0 | 66954.7162 | 0 | 18.7805 |  | 14.9802 | 0 | 0 | 33.7607 | 0 | 40649.2496 |  | 26305.4666 | 0 | 0 | 66954.7162 | 0 | 0 | 3004.8766 |  | 2396.834 | 0 | 0 | 5401.7106 | 0 | 32198.0341 |  | 19564.371 | 0 | 0 | 51762.405 | -15192.3112
UR-PQP | Acre | 0.52599 | 1931.143 | 5749.2979 | n/a | 4664.4128 | 2017.7036 | 4029.5758 | n/a | Acre | 2.6562 | 1931.143 | 5749.2979 | n/a | 4664.4128 | 2017.7036 | 4029.5758 | n/a | Acre | 425 | 735.8305 | 4553.9854 | #VALUE! | 3469.1003 | 822.3911 | 2834.2633 | n/a | Acre | 1 | 735.8305 | 4553.9854 | #VALUE! | 3469.1003 | 822.3911 | 2834.2633 | n/a | 0 | 2.3306 |  | 0 | 0 | 0 | 2.3306 | 0 | 13399.1436 |  | 0 | 0 | 0 | 13399.1436 | 0 | 6.1906 |  | 0 | 0 | 0 | 6.1906 | 0 | 13399.1436 |  | 0 | 0 | 0 | 13399.1436 | 0 | 0 | 990.4924 |  | 0 | 0 | 0 | 990.4924 | 0 | 10613.3837 |  | 0 | 0 | 0 | 10613.3837 | -2785.7599
UR-VLDR | Acre | 0.39604 | 1454.037 | 4328.8832 | n/a | 3512.0285 | 1519.2121 | 3034.0335 | n/a | Dwelling Unit | 1 | 727.0185 | 2164.4416 | n/a | 1756.0142 | 759.606 | 1517.0168 | n/a | Acre | 320 | 554.037 | 3428.8832 | #VALUE! | 2612.0285 | 619.2121 | 2134.0335 | n/a | Dwelling Unit | 2 | 277.0185 | 1714.4416 | #VALUE! | 1306.0142 | 309.606 | 1067.0168 | n/a | 0 | 70.5187 |  | 15.7474 | 39.1937 | 0 | 125.4597 | 0 | 305267.0664 |  | 55305.2487 | 59543.5141 | 0 | 420115.8292 | 0 | 141.0373 |  | 31.4948 | 78.3874 | 0 | 250.9195 | 0 | 305267.0664 |  | 55305.2487 | 59543.5141 | 0 | 420115.8292 | 0 | 0 | 22565.9732 |  | 5039.1617 | 12541.9779 | 0 | 40147.1128 | 0 | 241800.2668 |  | 41132.6064 | 24269.2012 | 0 | 307202.0743 | -112913.7548
VLDR | Acre | 0.39604 | 1454.037 | 4328.8832 | n/a | 3512.0285 | 1519.2121 | 3034.0335 | n/a | Dwelling Unit | 1 | 727.0185 | 2164.4416 | n/a | 1756.0142 | 759.606 | 1517.0168 | n/a | Acre | 320 | 554.037 | 3428.8832 | #VALUE! | 2612.0285 | 619.2121 | 2134.0335 | n/a | Dwelling Unit | 2 | 277.0185 | 1714.4416 | #VALUE! | 1306.0142 | 309.606 | 1067.0168 | n/a | 6.765 | 127.9861 |  | 524.7825 | 0 | 0 | 659.5335 | 9836.5025 | 554036.7384 |  | 1843051.0037 | 0 | 0 | 2406924.2445 | 13.5299 | 255.9721 |  | 1049.5649 | 0 | 0 | 1319.067 | 9836.5025 | 554036.7384 |  | 1843051.0037 | 0 | 0 | 2406924.2445 | 0 | 2164.7872 | 40955.5421 |  | 167930.3917 | 0 | 0 | 211050.721 | 3748.0385 | 438849.2763 |  | 1370746.7771 | 0 | 0 | 1813344.0918 | -593580.1527
[37 empty] | 497.2313 | 6202.4182 | 0 | 4799.8986 | 1549.847 | 332.95 | 13382.3451 | 3175298.6566 | 28305614.2129 | 0 | 43567845.7938 | 4147997.4146 | 2518878.8925 | 81715634.9704 | 4367.5623 | 13077.5598 | 0 | 24810.6448 | 5460.722 | 1660.416 | 49376.9048 | 3175298.6566 | 28305614.2129 | 0 | 43567845.7938 | 4147997.4146 | 2518878.8925 | 81715634.9704 |  | 698809.9602 | 2092409.5708 | 0 | 3969703.1684 | 873715.5131 | 265666.56 | 7900304.7725 | 1209895.6437 | 22420712.295 | 0 | 32403055.6326 | 1690672.5339 | 1771691.6925 | 59496027.7976
Notes:

## 1.2 EDU Factors
Table 1.2 | [6 empty] | Internal
City of Manteca | [6 empty] | Working Draft - v11
PFF Sewer Collection Fee | [6 empty] | 2013-02-18
EDU Factors
Land Use | Units | Wastwater Generation Factor (WGF) (gpd/acre) (b) | EDU Factor (per acre) | Units | Units Per Acre | Wastewater Generation Factor (WGF) Per Unit | EDU Factor (per unit)
AG | Acre | 0 | 0 | Acre |  | 0 | 0
BIP | Acre | 1200 | 1.4851 | Acre | 1 | 1200 | 7.5
CMU | Acre | 2473 | 3.0606 | Acre | 1 | 2473 | 15.4563
GC | Acre | 750 | 0.92822 | Acre | 1 | 750 | 4.6875
HDR | Acre | 2337 | 2.8923 | Dwelling Unit | 19.9744 | 117 | 0.73125
HI | Acre | 1000 | 1.2376 | Acre | 1 | 1000 | 6.25
LDR | Acre | 808 | 1 | Dwelling Unit | 5.05 | 160 | 1
LI | Acre | 1000 | 1.2376 | Acre | 1 | 1000 | 6.25
MDR | Acre | 1346 | 1.6658 | Dwelling Unit | 11.5043 | 117 | 0.73125
NC | Acre | 1120 | 1.3861 | Acre | 1 | 1120 | 7
OS | Acre | 0 | 0 | Acre | 1 | 0 | 0
P | Acre | 400 | 0.49505 | Acre | 1 | 400 | 2.5
PQP | Acre | 425 | 0.52599 | Acre | 1 | 425 | 2.6562
UR | Acre | 320 | 0.39604 | Acre | 1 | 320 | 2
UR-AG | Acre | 0 | 0 | Acre |  | 0 | 0
UR-BIP | Acre | 1200 | 1.4851 | Acre | 1 | 1200 | 7.5
UR-CMU | Acre | 2473 | 3.0606 | Acre | 1 | 2473 | 15.4563
UR-GC | Acre | 750 | 0.92822 | Acre | 1 | 750 | 4.6875
UR-LDR | Acre | 808 | 1 | Dwelling Unit | 5.05 | 160 | 1
UR-LI | Acre | 600 | 0.74257 | Acre | 1 | 600 | 3.75
UR-MDR | Acre | 1346 | 1.6658 | Dwelling Unit | 11.5043 | 117 | 0.73125
UR-P | Acre | 400 | 0.49505 | Acre | 1 | 400 | 2.5
UR-PQP | Acre | 425 | 0.52599 | Acre | 1 | 425 | 2.6562
UR-VLDR | Acre | 320 | 0.39604 | Dwelling Unit | 2 | 160 | 1
VLDR | Acre | 320 | 0.39604 | Dwelling Unit | 2 | 160 | 1
Notes:
(b) per Nolte master plan

## 1.3 Total EDUs Developed
Table 1.3 | [14 empty] | Internal
City of Manteca | [14 empty] | Working Draft - v11
PFF Sewer Collection Fee | [14 empty] | 2013-02-18
New Development - Total EDUs Developed
Sewer Zone | Land Use | Undeveloped Acres (a) | Percentage Developed | Expected Developed Acres (a) | Units | EDU Factor (per acre) | Total EDUs | Units | Units Per Acre | Units Developed | EDU Factor (per unit) | Total EDUs | Units | GPD (per acre) | Total GPD
ZONE 21 (includes old Zone 23)
| CMU | 126.6415 | 100% | 126.6415 | Acre | 3.0606 | 387.6046 | Acre | 1 | 126.6415 | 15.4563 | 1957.403 | Acre | 2473 | 313184.4765
| GC | 46.6868 | 100% | 46.6868 | Acre | 0.92822 | 43.3355 | Acre | 1 | 46.6868 | 4.6875 | 218.8444 | Acre | 750 | 35015.0992
| HDR | 34.9124 | 100% | 34.9124 | Acre | 2.8923 | 100.978 | Dwelling Unit | 19.9744 | 697.3526 | 0.73125 | 509.9391 | Acre | 2337 | 81590.2554
| LDR | 162.0994 | 100% | 162.0994 | Acre | 1 | 162.0994 | Dwelling Unit | 5.05 | 818.6022 | 1 | 818.6022 | Acre | 808 | 130976.3556
| LI | 42.5116 | 100% | 42.5116 | Acre | 1.2376 | 52.6134 | Acre | 1 | 42.5116 | 6.25 | 265.6975 | Acre | 1000 | 42511.601
| MDR | 55.915 | 100% | 55.915 | Acre | 1.6658 | 93.1455 | Dwelling Unit | 11.5043 | 643.2611 | 0.73125 | 470.3847 | Acre | 1346 | 75261.5442
| NC | 13.0917 | 100% | 13.0917 | Acre | 1.3861 | 18.1469 | Acre | 1 | 13.0917 | 7 | 91.6417 | Acre | 1120 | 14662.6682
| P | 8.6079 | 100% | 8.6079 | Acre | 0.49505 | 4.2614 | Acre | 1 | 8.6079 | 2.5 | 21.5198 | Acre | 400 | 3443.1728
| VLDR | 6.765 | 100% | 6.765 | Acre | 0.39604 | 2.6792 | Dwelling Unit | 2 | 13.5299 | 1 | 13.5299 | Acre | 320 | 2164.7872
Total Zone 21 |  | 497.2313 |  | 497.2313 |  |  | 864.8638 |  |  |  |  | 4367.5623 |  |  | 698809.9602
GPD per EDU | [6 empty] | 808 |  |  |  |  | 160
Estimated GPD | [6 empty] | 698809.9602 |  |  |  |  | 698809.9602
ZONE 23 (folded into zone 21) | CMU | 50.4571 |  | 50.4571 | Acre | 3.0606 | 154.4311 | Acre | 1 | 50.4571 | 15.4563 | 779.8772 | #N/A | 3.0606 | 2386.926
| GC | 10.0556 |  | 10.0556 | Acre | 0.92822 | 9.3338 | Acre | 1 | 10.0556 | 4.6875 | 47.1355 | #N/A | 0.92822 | 43.752
| LDR | 6.8119 |  | 6.8119 | Acre | 1 | 6.8119 | Dwelling Unit | 5.05 | 34.4001 | 1 | 34.4001 | #N/A | 1 | 34.4001
| LI | 34.6008 |  | 34.6008 | Acre | 1.2376 | 42.8227 | Acre | 1 | 34.6008 | 6.25 | 216.2547 | #N/A | 1.2376 | 267.642
Total Zone 23 |  | 101.9253 |  | 101.9253 |  |  | 213.3995 |  |  |  |  | 1077.6675 |  |  | 2732.7202
GPD per EDU | [6 empty] | 808 |  |  |  |  | 160 |  |  | 808
Estimated GPD | [6 empty] | 172426.8064 |  |  |  |  | 172426.8064 |  |  | 2208037.9017
ZONE 22 | AG | 3385.3007 | 100% | 3385.3007 | Acre | 0 | 0 | Acre | 0 | 0 | 0 | 0 | Acre | 0 | 0
| CMU | 29.2923 | 100% | 29.2923 | Acre | 3.0606 | 89.6533 | Acre | 1 | 29.2923 | 15.4563 | 452.7493 | Acre | 2473 | 72439.8826
| GC | 18.7611 | 100% | 18.7611 | Acre | 0.92822 | 17.4144 | Acre | 1 | 18.7611 | 4.6875 | 87.9428 | Acre | 750 | 14070.849
| HDR | 25.6662 | 100% | 25.6662 | Acre | 2.8923 | 74.235 | Dwelling Unit | 19.9744 | 512.6655 | 0.73125 | 374.8866 | Acre | 2337 | 59981.8627
| HI | 175.1279 | 100% | 175.1279 | Acre | 1.2376 | 216.7424 | Acre | 1 | 175.1279 | 6.25 | 1094.5492 | Acre | 1000 | 175127.878
| LDR | 1033.0335 | 100% | 1033.0335 | Acre | 1 | 1033.0335 | Dwelling Unit | 5.05 | 5216.8189 | 1 | 5216.8189 | Acre | 808 | 834691.03
| LI | 527.8424 | 100% | 527.8424 | Acre | 1.2376 | 653.2702 | Acre | 1 | 527.8424 | 6.25 | 3299.0147 | Acre | 1000 | 527842.359
| MDR | 19.0973 | 100% | 19.0973 | Acre | 1.6658 | 31.8131 | Dwelling Unit | 11.5043 | 219.7005 | 0.73125 | 160.656 | Acre | 1346 | 25704.9577
| NC | 22.486 | 100% | 22.486 | Acre | 1.3861 | 31.1687 | Acre | 1 | 22.486 | 7 | 157.4017 | Acre | 1120 | 25184.2774
| OS | 15.3685 | 100% | 15.3685 | Acre | 0 | 0 | Acre | 1 | 15.3685 | 0 | 0 | Acre | 0 | 0
| P | 44.27 | 100% | 44.27 | Acre | 0.49505 | 21.9159 | Acre | 1 | 44.27 | 2.5 | 110.6751 | Acre | 400 | 17708.0184
| PQP | 157.1758 | 100% | 157.1758 | Acre | 0.52599 | 82.6729 | Acre | 1 | 157.1758 | 2.6562 | 417.4981 | Acre | 425 | 66799.6963
| UR | 578.5375 | 20% | 115.7075 | Acre | 0.39604 | 45.8248 | Acre | 1 | 115.7075 | 2 | 231.415 | Acre | 320 | 37026.4012
| UR-AG | 1152.6551 | 20% | 230.531 | Acre | 0 | 0 | Acre | 0 | 0 | 0 | 0 | Acre | 0 | 0
| UR-CMU | 43.0578 | 20% | 8.6116 | Acre | 3.0606 | 26.3569 | Acre | 1 | 8.6116 | 15.4563 | 133.1024 | Acre | 2473 | 21296.3864
| UR-GC | 40.4348 | 20% | 8.087 | Acre | 0.92822 | 7.5065 | Acre | 1 | 8.087 | 4.6875 | 37.9076 | Acre | 750 | 6065.2197
| UR-LDR | 754.3747 | 20% | 150.8749 | Acre | 1 | 150.8749 | Dwelling Unit | 5.05 | 761.9184 | 1 | 761.9184 | Acre | 808 | 121906.9488
| UR-LI | 114.4495 | 20% | 22.8899 | Acre | 0.74257 | 16.9974 | Acre | 1 | 22.8899 | 3.75 | 85.8371 | Acre | 600 | 13733.9364
| UR-MDR | 19.7362 | 20% | 3.9472 | Acre | 1.6658 | 6.5755 | Dwelling Unit | 11.5043 | 45.4101 | 0.73125 | 33.2061 | Acre | 1346 | 5312.9829
| UR-P | 37.561 | 20% | 7.5122 | Acre | 0.49505 | 3.7189 | Acre | 1 | 7.5122 | 2.5 | 18.7805 | Acre | 400 | 3004.8766
| UR-PQP | 11.6529 | 20% | 2.3306 | Acre | 0.52599 | 1.2259 | Acre | 1 | 2.3306 | 2.6562 | 6.1906 | Acre | 425 | 990.4924
| UR-VLDR | 352.5933 | 20% | 70.5187 | Acre | 0.39604 | 27.9282 | Dwelling Unit | 2 | 141.0373 | 1 | 141.0373 | Acre | 320 | 22565.9732
| VLDR | 127.9861 | 100% | 127.9861 | Acre | 0.39604 | 50.6876 | Dwelling Unit | 2 | 255.9721 | 1 | 255.9721 | Acre | 320 | 40955.5421
Total Zone 22 |  | 8686.4603 |  | 6202.4182 |  |  | 2589.6158 |  |  |  |  | 13077.5598 |  |  | 2092409.5708
GPD per EDU |  |  |  | 2484.0421 |  |  | 808 |  |  |  |  | 160
Estimated GPD |  |  |  | -0.28597 |  |  | 2092409.5708 |  |  |  |  | 2092409.5708
ZONE 24 | AG | 111.4787 | 100% | 111.4787 | Acre |  | 0 | Acre | 0 | 0 | 0 | 0 | Acre | 0 | 0
| BIP | 44.6599 | 100% | 44.6599 | Acre | 1.4851 | 66.3266 | Acre | 1 | 44.6599 | 7.5 | 334.9493 | Acre | 1200 | 53591.892
| CMU | 162.7524 | 100% | 162.7524 | Acre | 3.0606 | 498.127 | Acre | 1 | 162.7524 | 15.4563 | 2515.5415 | Acre | 2473 | 402486.6432
| GC | 320.1093 | 100% | 320.1093 | Acre | 0.92822 | 297.1311 | Acre | 1 | 320.1093 | 4.6875 | 1500.5123 | Acre | 750 | 240081.9653
| HDR | 68.2732 | 100% | 68.2732 | Acre | 2.8923 | 197.4685 | Dwelling Unit | 19.9744 | 1363.7139 | 0.73125 | 997.2158 | Acre | 2337 | 159554.5292
| HI | 563.7922 | 100% | 563.7922 | Acre | 1.2376 | 697.7626 | Acre | 1 | 563.7922 | 6.25 | 3523.7013 | Acre | 1000 | 563792.204
| LDR | 1934.0595 | 100% | 1934.0595 | Acre | 1 | 1934.0595 | Dwelling Unit | 5.05 | 9767.0006 | 1 | 9767.0006 | Acre | 808 | 1562720.0938
| LI | 180.0213 | 100% | 180.0213 | Acre | 1.2376 | 222.7986 | Acre | 1 | 180.0213 | 6.25 | 1125.1329 | Acre | 1000 | 180021.261
| MDR | 113.5767 | 100% | 113.5767 | Acre | 1.6658 | 189.2008 | Dwelling Unit | 11.5043 | 1306.6174 | 0.73125 | 955.464 | Acre | 1346 | 152874.2395
| NC | 20.5254 | 100% | 20.5254 | Acre | 1.3861 | 28.4511 | Acre | 1 | 20.5254 | 7 | 143.678 | Acre | 1120 | 22988.4816
| P | 108.3517 | 100% | 108.3517 | Acre | 0.49505 | 53.6395 | Acre | 1 | 108.3517 | 2.5 | 270.8793 | Acre | 400 | 43340.682
| PQP | 85.0424 | 100% | 85.0424 | Acre | 0.52599 | 44.7315 | Acre | 1 | 85.0424 | 2.6562 | 225.8938 | Acre | 425 | 36143.0132
| UR | 1130.5528 | 20% | 226.1106 | Acre | 0.39604 | 89.5487 | Acre | 1 | 226.1106 | 2 | 452.2211 | Acre | 320 | 72355.3761
| UR-AG | 459.1962 | 20% | 91.8392 | Acre | 0 | 0 | Acre | 0 | 0 | 0 | 0 | Acre | 0 | 0
| UR-BIP | 338.6979 | 20% | 67.7396 | Acre | 1.4851 | 100.6033 | Acre | 1 | 67.7396 | 7.5 | 508.0469 | Acre | 1200 | 81287.5044
| UR-CMU | 293.7625 | 20% | 58.7525 | Acre | 3.0606 | 179.8205 | Acre | 1 | 58.7525 | 15.4563 | 908.0933 | Acre | 2473 | 145294.935
| UR-LDR | 481.4602 | 20% | 96.292 | Acre | 1 | 96.292 | Dwelling Unit | 5.05 | 486.2748 | 1 | 486.2748 | Acre | 808 | 77803.9609
| UR-P | 29.9604 | 20% | 5.9921 | Acre | 0.49505 | 2.9664 | Acre | 1 | 5.9921 | 2.5 | 14.9802 | Acre | 400 | 2396.834
| UR-VLDR | 78.7369 | 20% | 15.7474 | Acre | 0.39604 | 6.2366 | Dwelling Unit | 2 | 31.4948 | 1 | 31.4948 | Acre | 320 | 5039.1617
| VLDR | 524.7825 | 100% | 524.7825 | Acre | 0.39604 | 207.8346 | Dwelling Unit | 2 | 1049.5649 | 1 | 1049.5649 | Acre | 320 | 167930.3917
Total Zone 24 |  | 7049.792 |  | 4799.8986 |  |  | 4912.999 |  |  |  |  | 24810.6448 |  |  | 3969703.1684
GPD per EDU |  |  |  | 2249.8935 |  |  | 808 |  |  |  |  | 160
Estimated GPD |  |  |  | -0.31914 |  |  | 3969703.1684 |  |  |  |  | 3969703.1684
ZONE 25 | AG | 191.4289 | 100% | 191.4289 | 0 | 0 | 0 | Acre | 0 | 0 | 0 | 0 | Acre | 0 | 0
| BIP | 135.3244 | 100% | 135.3244 | Acre | 1.4851 | 200.9768 | Acre | 1 | 135.3244 | 7.5 | 1014.933 | Acre | 1200 | 162389.286
| GC | 78.5645 | 100% | 78.5645 | Acre | 0.92822 | 72.925 | Acre | 1 | 78.5645 | 4.6875 | 368.271 | Acre | 750 | 58923.363
| HDR | 18.722 | 100% | 18.722 | Acre | 2.8923 | 54.1503 | Dwelling Unit | 19.9744 | 373.9607 | 0.73125 | 273.4588 | Acre | 2337 | 43753.4028
| LDR | 545.7898 | 100% | 545.7898 | Acre | 1 | 545.7898 | Dwelling Unit | 5.05 | 2756.2384 | 1 | 2756.2384 | Acre | 808 | 440998.1479
| MDR | 48.9758 | 100% | 48.9758 | Acre | 1.6658 | 81.5859 | Dwelling Unit | 11.5043 | 563.4308 | 0.73125 | 412.0088 | Acre | 1346 | 65921.4066
| OS | 428.9815 | 100% | 428.9815 | Acre | 0 | 0 | Acre | 1 | 428.9815 | 0 | 0 | Acre | 0 | 0
| UR-BIP | 70.0028 | 20% | 14.0006 | Acre | 1.4851 | 20.7929 | Acre | 1 | 14.0006 | 7.5 | 105.0042 | Acre | 1200 | 16800.6653
| UR-CMU | 98.8098 | 20% | 19.762 | Acre | 3.0606 | 60.4843 | Acre | 1 | 19.762 | 15.4563 | 305.4458 | Acre | 2473 | 48871.33
| UR-LDR | 145.5194 | 20% | 29.1039 | Acre | 1 | 29.1039 | Dwelling Unit | 5.05 | 146.9746 | 1 | 146.9746 | Acre | 808 | 23515.9336
| UR-VLDR | 195.9684 | 20% | 39.1937 | Acre | 0.39604 | 15.5222 | Dwelling Unit | 2 | 78.3874 | 1 | 78.3874 | Acre | 320 | 12541.9779
Total Zone 25 |  | 1958.0873 |  | 1549.847 |  |  | 1081.3311 |  |  |  |  | 5460.722 |  |  | 873715.5131
GPD per EDU | [6 empty] | 808 |  |  |  |  | 160
Estimated GPD | [6 empty] | 873715.5131 |  |  |  |  | 873715.5131
ZONE 26 | GC | 57.88 | 100% | 57.88 | 0 | 0.92822 | 53.7252 | Acre | 1 | 57.88 | 4.6875 | 271.3125 | Acre | 750 | 43410
| LDR | 275.07 | 100% | 275.07 | Acre | 1 | 275.07 | Dwelling Unit | 5.05 | 1389.1035 | 1 | 1389.1035 | Acre | 808 | 222256.56
Total Zone 25 |  | 332.95 |  | 332.95 |  |  | 328.7952 |  |  |  |  | 1660.416 |  |  | 265666.56
GPD per EDU | [6 empty] | 808 |  |  |  |  | 160
Estimated GPD | [6 empty] | 265666.56 |  |  |  |  | 265666.56
TOTAL | TOTAL | 18524.521 |  | 13382.3451 |  |  | 9777.6049 |  |  |  |  | 49376.9048 |  |  | 7900304.7725
GPD per EDU | [6 empty] | 808 |  |  |  |  | 160
Estimated GPD | [6 empty] | 7900304.7725 |  |  |  |  | 7900304.7725
Notes:
(a) Source: Per City GIS analysis

## 1.3 Total EDUs Developed w23 (hidden)
Table 1.3 | [9 empty] | Internal
City of Manteca | [9 empty] | Working Draft - v11
PFF Sewer Collection Fee | [9 empty] | 2013-02-18
New Development - Total EDUs Developed
Sewer Zone | Land Use | Undeveloped Acres (a) | Units | EDU Factor (per acre) | Total EDUs | Units | Units Per Acre | Units Developed | EDU Factor (per unit) | Total EDUs
ZONE 21
| CMU | 76.1844 | Acre | 3.0606 | 233.1734 | Acre | 1 | 76.1844 | 15.4563 | 1177.5258
| GC | 36.6312 | Acre | 0.92822 | 34.0018 | Acre | 1 | 36.6312 | 4.6875 | 171.7089
| HDR | 34.9124 | Acre | 2.8923 | 100.978 | Dwelling Unit | 19.9744 | 697.3526 | 0.73125 | 509.9391
| LDR | 155.2875 | Acre | 1 | 155.2875 | Dwelling Unit | 5.05 | 784.2021 | 1 | 784.2021
| LI | 7.9108 | Acre | 1.2376 | 9.7906 | Acre | 1 | 7.9108 | 6.25 | 49.4428
| MDR | 55.915 | Acre | 1.6658 | 93.1455 | Dwelling Unit | 11.5043 | 643.2611 | 0.73125 | 470.3847
| NC | 13.0917 | Acre | 1.3861 | 18.1469 | Acre | 1 | 13.0917 | 7 | 91.6417
| P | 8.6079 | Acre | 0.49505 | 4.2614 | Acre | 1 | 8.6079 | 2.5 | 21.5198
| VLDR | 6.765 | Acre | 0.39604 | 2.6792 | Dwelling Unit | 2 | 13.5299 | 1 | 13.5299
Total Zone 21 |  | 395.306 |  |  | 651.4643 |  |  |  |  | 3289.8947
GPD per EDU |  |  |  |  | 808 |  |  |  |  | 160
Estimated GPD |  |  |  |  | 526383.1538 |  |  |  |  | 526383.1538
ZONE 22 | AG | 3385.3007 | Acre | 0 | 0 | Acre | 0 | 0 | 0 | 0
| CMU | 29.2923 | Acre | 3.0606 | 89.6533 | Acre | 1 | 29.2923 | 15.4563 | 452.7493
| GC | 18.7611 | Acre | 0.92822 | 17.4144 | Acre | 1 | 18.7611 | 4.6875 | 87.9428
| HDR | 25.6662 | Acre | 2.8923 | 74.235 | Dwelling Unit | 19.9744 | 512.6655 | 0.73125 | 374.8866
| HI | 175.1279 | Acre | 1.2376 | 216.7424 | Acre | 1 | 175.1279 | 6.25 | 1094.5492
| LDR | 1033.0335 | Acre | 1 | 1033.0335 | Dwelling Unit | 5.05 | 5216.8189 | 1 | 5216.8189
| LI | 527.8424 | Acre | 1.2376 | 653.2702 | Acre | 1 | 527.8424 | 6.25 | 3299.0147
| MDR | 19.0973 | Acre | 1.6658 | 31.8131 | Dwelling Unit | 11.5043 | 219.7005 | 0.73125 | 160.656
| NC | 22.486 | Acre | 1.3861 | 31.1687 | Acre | 1 | 22.486 | 7 | 157.4017
| OS | 15.3685 | Acre | 0 | 0 | Acre | 1 | 15.3685 | 0 | 0
| P | 44.27 | Acre | 0.49505 | 21.9159 | Acre | 1 | 44.27 | 2.5 | 110.6751
| PQP | 157.1758 | Acre | 0.52599 | 82.6729 | Acre | 1 | 157.1758 | 2.6562 | 417.4981
| UR | 578.5375 | Acre | 0.39604 | 229.1238 | Acre | 1 | 578.5375 | 2 | 1157.075
| UR-AG | 1152.6551 | Acre | 0 | 0 | Acre | 0 | 0 | 0 | 0
| UR-CMU | 43.0578 | Acre | 3.0606 | 131.7846 | Acre | 1 | 43.0578 | 15.4563 | 665.5121
| UR-GC | 40.4348 | Acre | 0.92822 | 37.5323 | Acre | 1 | 40.4348 | 4.6875 | 189.5381
| UR-LDR | 754.3747 | Acre | 1 | 754.3747 | Dwelling Unit | 5.05 | 3809.5921 | 1 | 3809.5921
| UR-LI | 114.4495 | Acre | 0.74257 | 84.9872 | Acre | 1 | 114.4495 | 3.75 | 429.1855
| UR-MDR | 19.7362 | Acre | 1.6658 | 32.8774 | Dwelling Unit | 11.5043 | 227.0506 | 0.73125 | 166.0307
| UR-P | 37.561 | Acre | 0.49505 | 18.5945 | Acre | 1 | 37.561 | 2.5 | 93.9024
| UR-PQP | 11.6529 | Acre | 0.52599 | 6.1293 | Acre | 1 | 11.6529 | 2.6562 | 30.9529
| UR-VLDR | 352.5933 | Acre | 0.39604 | 139.6409 | Dwelling Unit | 2 | 705.1867 | 1 | 705.1867
| VLDR | 127.9861 | Acre | 0.39604 | 50.6876 | Dwelling Unit | 2 | 255.9721 | 1 | 255.9721
Total Zone 22 |  | 8686.4603 |  |  | 3737.6515 |  |  |  |  | 18875.1403
GPD per EDU |  |  |  |  | 808 |  |  |  |  | 160
Estimated GPD |  |  |  |  | 3020022.441 |  |  |  |  | 3020022.441
ZONE 23 | CMU | 50.4571 | Acre | 3.0606 | 154.4311 | Acre | 1 | 50.4571 | 15.4563 | 779.8772
| GC | 10.0556 | Acre | 0.92822 | 9.3338 | Acre | 1 | 10.0556 | 4.6875 | 47.1355
| LDR | 6.8119 | Acre | 1 | 6.8119 | Dwelling Unit | 5.05 | 34.4001 | 1 | 34.4001
| LI | 34.6008 | Acre | 1.2376 | 42.8227 | Acre | 1 | 34.6008 | 6.25 | 216.2547
Total Zone 23 |  | 101.9253 |  |  | 213.3995 |  |  |  |  | 1077.6675
GPD per EDU |  |  |  |  | 808 |  |  |  |  | 160
Estimated GPD |  |  |  |  | 172426.8064 |  |  |  |  | 172426.8064
ZONE 24 | AG | 111.4787 | Acre |  | 0 | Acre | 0 | 0 | 0 | 0
| BIP | 44.6599 | Acre | 1.4851 | 66.3266 | Acre | 1 | 44.6599 | 7.5 | 334.9493
| CMU | 162.7524 | Acre | 3.0606 | 498.127 | Acre | 1 | 162.7524 | 15.4563 | 2515.5415
| GC | 320.1093 | Acre | 0.92822 | 297.1311 | Acre | 1 | 320.1093 | 4.6875 | 1500.5123
| HDR | 68.2732 | Acre | 2.8923 | 197.4685 | Dwelling Unit | 19.9744 | 1363.7139 | 0.73125 | 997.2158
| HI | 563.7922 | Acre | 1.2376 | 697.7626 | Acre | 1 | 563.7922 | 6.25 | 3523.7013
| LDR | 1934.0595 | Acre | 1 | 1934.0595 | Dwelling Unit | 5.05 | 9767.0006 | 1 | 9767.0006
| LI | 180.0213 | Acre | 1.2376 | 222.7986 | Acre | 1 | 180.0213 | 6.25 | 1125.1329
| MDR | 113.5767 | Acre | 1.6658 | 189.2008 | Dwelling Unit | 11.5043 | 1306.6174 | 0.73125 | 955.464
| NC | 20.5254 | Acre | 1.3861 | 28.4511 | Acre | 1 | 20.5254 | 7 | 143.678
| P | 108.3517 | Acre | 0.49505 | 53.6395 | Acre | 1 | 108.3517 | 2.5 | 270.8793
| PQP | 85.0424 | Acre | 0.52599 | 44.7315 | Acre | 1 | 85.0424 | 2.6562 | 225.8938
| UR | 1130.5528 | Acre | 0.39604 | 447.7437 | Acre | 1 | 1130.5528 | 2 | 2261.1055
| UR-AG | 459.1962 | Acre | 0 | 0 | Acre | 0 | 0 | 0 | 0
| UR-BIP | 338.6979 | Acre | 1.4851 | 503.0167 | Acre | 1 | 338.6979 | 7.5 | 2540.2345
| UR-CMU | 293.7625 | Acre | 3.0606 | 899.1023 | Acre | 1 | 293.7625 | 15.4563 | 4540.4667
| UR-LDR | 481.4602 | Acre | 1 | 481.4602 | Dwelling Unit | 5.05 | 2431.3738 | 1 | 2431.3738
| UR-P | 29.9604 | Acre | 0.49505 | 14.8319 | Acre | 1 | 29.9604 | 2.5 | 74.9011
| UR-VLDR | 78.7369 | Acre | 0.39604 | 31.1829 | Dwelling Unit | 2 | 157.4738 | 1 | 157.4738
| VLDR | 524.7825 | Acre | 0.39604 | 207.8346 | Dwelling Unit | 2 | 1049.5649 | 1 | 1049.5649
Total Zone 24 |  | 7049.792 |  |  | 6814.8691 |  |  |  |  | 34415.0891
GPD per EDU |  |  |  |  | 808 |  |  |  |  | 160
Estimated GPD |  |  |  |  | 5506414.2566 |  |  |  |  | 5506414.2566
ZONE 25 | AG | 191.4289 | 0 | 0 | 0 | Acre | 0 | 0 | 0 | 0
| BIP | 135.3244 | Acre | 1.4851 | 200.9768 | Acre | 1 | 135.3244 | 7.5 | 1014.933
| GC | 78.5645 | Acre | 0.92822 | 72.925 | Acre | 1 | 78.5645 | 4.6875 | 368.271
| HDR | 18.722 | Acre | 2.8923 | 54.1503 | Dwelling Unit | 19.9744 | 373.9607 | 0.73125 | 273.4588
| LDR | 545.7898 | Acre | 1 | 545.7898 | Dwelling Unit | 5.05 | 2756.2384 | 1 | 2756.2384
| MDR | 48.9758 | Acre | 1.6658 | 81.5859 | Dwelling Unit | 11.5043 | 563.4308 | 0.73125 | 412.0088
| OS | 428.9815 | Acre | 0 | 0 | Acre | 1 | 428.9815 | 0 | 0
| UR-BIP | 70.0028 | Acre | 1.4851 | 103.9645 | Acre | 1 | 70.0028 | 7.5 | 525.0208
| UR-CMU | 98.8098 | Acre | 3.0606 | 302.4216 | Acre | 1 | 98.8098 | 15.4563 | 1527.2291
| UR-LDR | 145.5194 | Acre | 1 | 145.5194 | Dwelling Unit | 5.05 | 734.8729 | 1 | 734.8729
| UR-VLDR | 195.9684 | Acre | 0.39604 | 77.6112 | Dwelling Unit | 2 | 391.9368 | 1 | 391.9368
Total Zone 25 |  | 1958.0873 |  |  | 1584.9445 |  |  |  |  | 8003.9696
GPD per EDU |  |  |  |  | 808 |  |  |  |  | 160
Estimated GPD |  |  |  |  | 1280635.1405 |  |  |  |  | 1280635.1405
ZONE 26 | GC | 57.88 | 0 | 0.92822 | 53.7252 | Acre | 1 | 57.88 | 4.6875 | 271.3125
| LDR | 275.07 | Acre | 1 | 275.07 | Dwelling Unit | 5.05 | 1389.1035 | 1 | 1389.1035
Total Zone 25 |  | 332.95 |  |  | 328.7952 |  |  |  |  | 1660.416
GPD per EDU |  |  |  |  | 808 |  |  |  |  | 160
Estimated GPD |  |  |  |  | 265666.56 |  |  |  |  | 265666.56
TOTAL | TOTAL | 18524.521 |  |  | 13331.1242 |  |  |  |  | 67322.1772
GPD per EDU |  |  |  |  | 808 |  |  |  |  | 160
Estimated GPD |  |  |  |  | 10771548.3583 |  |  |  |  | 10771548.3583
Notes:
(a) per City GIS analysis

## 2. CIP From Master Plan
Table 2 | [11 empty] | Internal
City of Manteca | [11 empty] | Working Draft - v11
PFF Sewer Collection Fee | [11 empty] | 2013-02-18
Sewer Capital Improvements Program
|  | Total | Existng | Zone 21 | Zone 22 | Zone 23 | Zone 24 | Zone 25 | Zone 26 | Zone 41 | Total
|  | Project | Development | Cost | Cost | Cost | Cost | Cost | Cost | Cost | PFF
| Project Description | Cost | Share | Estimate | Estimate | Estimate | Estimate | Estimate | Estimate | Estimate | Share | Totals | Check
Forced Pipelines
| Force Main OSFM | 276000 |  | Zone 26: 276000 | 276000 | 276000 | 0
| Force Main 27N | 263000 |  | Zone 24: 263000 | 263000 | 263000 | 0
| Force Main 27S | 165000 |  | Zone 24: 165000 | 165000 | 165000 | 0
| Force Main 28 | 292000 |  | Zone 24: 292000 | 292000 | 292000 | 0
| Force Main 36 | 1565000 |  | Zone 24: 1565000 | 1565000 | 1565000 | 0
| Force Main FMN-01 | 336000 |  | Zone 22: 336000; Zone 41: 0 | 336000 | 336000 | 0
| Subtotal Forced Pipelines Construction | 2897000 | 0 | 0 | 336000 | 0 | 2285000 | 0 | 276000 | 0 | 2897000 | 2897000 | 0
| Soft Costs (8.0%) | 231760 | 0 | 0 | 26880 | 0 | 182800 | 0 | 22080 | 0 | 231760 | 231760 | 0
| Total Forced Pipelines | 3128760 | 0 | 0 | 362880 | 0 | 2467800 | 0 | 298080 | 0 | 3128760 | 3128760 | 0
Gravity Pipelines
| Link 1 | 1135000 |  | Zone 24: 964750; Zone 25: 124850; Zone 26: 45400 | 1135000 | 1135000 | 0
| Link 100 | 539000 | 485100 | Zone 21: 53900 | 53900 | 539000 | 0
| Link 10S | 1359000 |  | Zone 24: 1359000 | 1359000 | 1359000 | 0
| Link 14A | 63000 |  | Zone 24: 63000 | 63000 | 63000 | 0
| Link 2 | 770000 |  | Zone 24: 654500; Zone 25: 84700; Zone 26: 30800 | 770000 | 770000 | 0
| Link 22S1 | 2011000 |  | Zone 24: 2011000 | 2011000 | 2011000 | 0
| Link 22 | 3633000 |  | Zone 24: 3633000 | 3633000 | 3633000 | 0
| Link 22S2 | 1016000 |  | Zone 24: 1016000 | 1016000 | 1016000 | 0
| Link 22S | 800000 |  | Zone 24: 800000 | 800000 | 800000 | 0
| Link 25 | 736000 |  | Zone 24: 736000 | 736000 | 736000 | 0
| Link 3 | 1471000 |  | Zone 24: 1250350; Zone 25: 161810; Zone 26: 58840 | 1471000 | 1471000 | 0
| Link 33 | 924000 |  | Zone 25: 674520; Zone 26: 249480 | 924000 | 924000 | 0
| Link 4 | 764000 |  | Zone 24: 649400; Zone 25: 84040; Zone 26: 30560 | 764000 | 764000 | 0
| Link 5 | 2987000 |  | Zone 24: 2538950; Zone 25: 328570; Zone 26: 119480 | 2987000 | 2987000 | 0
| Link 51 | 1038000 | 508620 | Zone 21: 301747; Zone 22: 227633 | 529380 | 1038000 | 0
| Link 52 | 749000 | 374500 | Zone 21: 213465; Zone 22: 161035 | 374500 | 749000 | 0
| Link 53 | 1227000 | 613500 | Zone 21: 349695; Zone 22: 263805 | 613500 | 1227000 | 0
| Link 54 | 1353000 |  | Zone 22: 1353000 | 1353000 | 1353000 | 0
| Link 56 | 58000 |  | Zone 22: 58000 | 58000 | 58000 | 0
| Link 66S2 | 838000 |  | Zone 22: 838000 | 838000 | 838000 | 0
| Link 66S3 | 833000 |  | Zone 22: 833000 | 833000 | 833000 | 0
| Link 66S4 | 129000 |  | Zone 22: 129000 | 129000 | 129000 | 0
| Link 69S1 | 1647000 |  | Zone 22: 1647000 | 1647000 | 1647000 | 0
| Link 69S2 | 362000 |  | Zone 22: 362000 | 362000 | 362000 | 0
| Link 71 | 142000 |  | Zone 22: 142000 | 142000 | 142000 | 0
| Link 72 | 363000 |  | Zone 22: 363000 | 363000 | 363000 | 0
| Link 72A | 1774000 |  | Zone 22: 1774000 | 1774000 | 1774000 | 0
| Link 73 | 720000 |  | Zone 22: 720000 | 720000 | 720000 | 0
| Link 73B | 147000 |  | Zone 22: 147000 | 147000 | 147000 | 0
| Link 74 | 289000 |  | Zone 22: 289000 | 289000 | 289000 | 0
| Link 75 | 552000 |  | Zone 22: 552000 | 552000 | 552000 | 0
| Link 76 | 418000 |  | Zone 22: 418000 | 418000 | 418000 | 0
| Link 77 | 410000 |  | Zone 22: 410000 | 410000 | 410000 | 0
| Link 79 | 1231000 |  | Zone 22: 1231000 | 1231000 | 1231000 | 0
| Link 80 | 392000 | 0 | Zone 21: 0; Zone 22: 392000 | 392000 | 392000 | 0
| Link 81 | 1220000 |  | Zone 22: 1220000 | 1220000 | 1220000 | 0
| Link 8S | 1346000 |  | Zone 24: 1346000 | 1346000 | 1346000 | 0
| Link 90 | 1464000 | 732000 | 417240 | 314760 |  | 0 | 0 |  | 0 | 732000 | 1464000 | 0
| Link 91 | 754000 | 377000 | Zone 21: 214890; Zone 22: 162110 | 377000 | 754000 | 0
| Link 92 | 620000 | 545600 | Zone 21: 74400 | 74400 | 620000 | 0
| Link 93 | 319000 | 280720 | Zone 21: 38280 | 38280 | 319000 | 0
| Link 93SI | 304000 | 97280 | Zone 21: 206720 | 206720 | 304000 | 0
| Link 94 | 319000 | 287100 | Zone 21: 31900 | 31900 | 319000 | 0
| Link 95 | 309000 | 278100 | Zone 21: 30900 | 30900 | 309000 | 0
| Link 96 | 441000 | 396900 | Zone 21: 44100 | 44100 | 441000 | 0
| Link 97 | 341000 | 306900 | Zone 21: 34100 | 34100 | 341000 | 0
| Link 98 | 371000 | 333900 | Zone 21: 37100 | 37100 | 371000 | 0
| Link 99 | 369000 | 332100 | Zone 21: 36900 | 36900 | 369000 | 0
| Link 9S | 1057000 |  | Zone 24: 1057000 | 1057000 | 1057000 | 0
| Subtotal Gravity Pipelines | 42114000 | 5949320 | 2085337 | 14007343 | 0 | 18078950 | 1458490 | 534560 | 0 | 36164680 | 42114000 | 0
| Soft Costs (8.0%) | 3369120 | 475945.6 | 166826.96 | 1120587.44 | 0 | 1446316 | 116679.2 | 42764.8 | 0 | 2893174.4 | 3369120 | 0
| Total Gravity Pipelines | 45483120 | 6425265.6 | 2252163.96 | 15127930.44 | 0 | 19525266 | 1575169.2 | 577324.8 | 0 | 39057854.4 | 45483120 | 0
Pump/Lift Stations
| South Main Lift Station | 1145000 |  | Zone 24: 1145000 | 1145000 | 1145000 | 0
| South Union Lift Station | 780000 |  | Zone 24: 780000 | 780000 | 780000 | 0
| SR-99 Lift Station | 1145000 |  | Zone 22: 1145000 | 1145000 | 1145000 | 0
| Trails of Manteca Lift Station | 1145000 |  | Zone 25: 1145000 | 1145000 | 1145000 | 0
| Yosemite Square Pump Station | 1145000 |  | Zone 24: 1145000 | 1145000 | 1145000 | 0
| Austin Business Pump Station | 1145000 |  | Zone 24: 1145000 | 1145000 | 1145000 | 0
| Chadwick Pump Station | 780000 |  | Zone 22: 780000 | 780000 | 780000 | 0
| Tara Park, Stage 1 Updgrade | 100000 |  | Zone 24: 72000; Zone 25: 20000; Zone 26: 8000 | 100000 | 100000 | 0
| Tara Park, Stage 2 Updgrade | 100000 |  | Zone 24: 72000; Zone 25: 20000; Zone 26: 8000 | 100000 | 100000 | 0
| Woodward Park, Stage 1 Updgrade | 100000 |  | Zone 24: 100000 | 100000 | 100000 | 0
| Louise Avenue Lift Station | 780000 |  | Zone 22: 780000 | 780000 | 780000 | 0
| Oakwood Shores Pump Station | 780000 |  | Zone 26: 780000 | 780000 | 780000 | 0
| South Airport Lift Station | 780000 |  | Zone 24: 780000 | 780000 | 780000 | 0
| Subtotal Pump/Lift Stations | 9925000 | 0 | 0 | 2705000 | 0 | 5239000 | 1185000 | 796000 | 0 | 9925000 | 9925000 | 0
| Soft Costs (12.0%) | 1191000 | 0 | 0 | 324600 | 0 | 628680 | 142200 | 95520 | 0 | 1191000 | 1191000 | 0
| Total Pump/Lift Stations | 11116000 | 0 | 0 | 3029600 | 0 | 5867680 | 1327200 | 891520 | 0 | 11116000 | 11116000 | 0
Reclaimed Water
| Subtotal Reclaimed Water | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Subtotal - Construction Costs |  | 54936000 | 5949320 | 2085337 | 17048343 | 0 | 25602950 | 2643490 | 1606560 | 0 | 48986680 | 54936000 | 0
Subtotal - Soft Costs |  | 4791880 | 475945.6 | 166826.96 | 1472067.44 | 0 | 2257796 | 258879.2 | 160364.8 | 0 | 4315934.4 | 4791880 | 0
Total Costs |  | 59727880 | 6425265.6 | 2252163.96 | 18520410.44 | 0 | 27860746 | 2902369.2 | 1766924.8 | 0 | 53302614.4 | 59727880 | 0
Source: City of Manteca.

## 2. Zone 24 CIP Costs (hidden)
Table 2 |  |  |  |  | Internal
City of Manteca |  |  |  |  | Working Draft - v11
PFF Sewer Collection Fee |  |  |  |  | 2013-02-18
Summary of Collection Capital Improvement Costs - Sewer Zone 24
Cost - 2011$
|  |  |  | Current Projects | Future Projects
Proposed Pipeline Projects
Sanitary Sewer Gravity Pipes
|  | Woodward: Galleria to Main [Links 7,8,9,10,22] |  | 4766282.7501
|  | Union: Woodward to Peach [Link 10S] |  |  | 1128000
|  | Main: Woodward to Sedan [Link 22S] |  |  | 1192800
|  | Airport: Woodward to Peach [Link 8S] |  |  | 1128000
|  | WQCF to Dutra Estates [Links 1-5] |  |  | 2975106
Sanitary Sewer Force Mains
|  | Main: Sedan to Woodward [future reclaimed] |  |  | 369600
|  | Yos Square: Austin to Spreckles [Link 36] |  |  | 385000
|  | Sedan: x to Austin [Link 25] |  |  | 185500
|  | Sedan: Austin to x [Link 26] |  |  | 185500
|  | Austin: x to Woodward [Link 27] |  |  | 369600
|  | Woodward: Spreckles to Austin [Link 28] |  |  | 420000
|  | Austin: Woodward to Yos Square [Link 35] |  |  | 273000
|  | Woodward: PS to Main |  |  | 500000
|  | Total Pipeline Projects |  | 4766282.7501 | 9112106
Proposed Lift Stations and Pump Stations
Sanitary Sewer Lift Stations
|  | Woodward |  |  | 750000
|  | South Main |  |  | 453000
|  | South Airport |  |  | 453000
|  | South Union |  |  | 453000
Sanitary Sewer Pump Stations
|  | WQCF Influent Pump Station - mech/elec |  |  | 1118000
|  | Austin Business East |  |  | 453000
|  | Yosemite Square |  |  | 666000
|  | Austin Business West |  |  | 453000
|  | Total Lift Stations and Pump Stations |  | 0 | 4799000
| Subtotal - Hard Costs |  |  | 4766282.7501 | 13911106
Proposed Capital Improvement Projects - Soft Costs
|  | Soft Costs - Pipeline | 14% |  | 1275694.84
|  | Soft Costs - Lift Stations & Pump Stations | 19% |  | 769310
| Subtotal - Soft Costs |  |  | 0 | 2045004.84
| Total Estimated CIP Costs |  |  | 4766282.7501 | 15956110.84
Source: City of Manteca
Notes:
(1) Soft costs for lift stations and pump stations excludes Woodward lift station as ____________.
(2) Need ENR for cost estimates.

## 3. Fund Balance Sewer
Table 3 | [11 empty] | Internal
City of Manteca | [11 empty] | Working Draft - v11
PFF Sewer Collection Fee | [11 empty] | 2013-02-18
Beginning Fund Balance - Sewer Funds
Waste Water
| PFIP | [6 empty] | ABC |  |  | Market
| Sewer | Zone | Zone | Zone | Zone | Zone | DUE Pump | Agreement | Zone | Zone
| Louise Ave. | 21 | 22 | 23 | 24 | 24A | Station | 24 | 25 | 51 | Value | Totals
Cash Balance 6/30/07 | 15781 | 47999 | 1669948 | 1055339 | 3997207 | -1581488 | 427959 | 40590 | -8920 | 0 | 0 | 5664415 | 5664415
Developer Liabilites
Woodward Park |  |  |  |  | -191447 | [6 empty] | -191447
Primavera |  |  | -210975 | [8 empty] | -210975
Antiqua |  |  |  |  | -24866 | [6 empty] | -24866
Dutra Estates |  |  |  |  | -2306039 | [6 empty] | -2306039
Tesoro |  |  |  |  | -928228 | [6 empty] | -928228
Union Ranch |  |  | -4214964 | [8 empty] | -4214964
0
Total Developer | 0 | 0 | -4425939 | 0 | -3450580 | 0 | 0 | 0 | 0 | 0 | 0 | -7876519 | -7876519
Interfund Borrowing - Transportation
Woodward |  |  |  |  | -51381 | [6 empty] | -51381
Bianchi Ranch |  |  |  |  | -275128 | [6 empty] | -275128
Tara Park |  |  |  |  | -1071000 | [6 empty] | -1071000
Dutra Farms |  |  |  |  | -522431 | [6 empty] | -522431
Total Interfund Transportation | 0 | 0 | 0 | 0 | -1919940 | 0 | 0 | 0 | 0 | 0 | 0 | -1919940 | -1919940
Interfund Borrowing - Water | [11 empty] | 0
Woodward |  |  |  |  | 35720 | [6 empty] | 35720
Bella Vista |  |  |  |  | 352611 | [6 empty] | 352611
Total Interfund Water | 0 | 0 | 0 | 0 | 388331 | 0 | 0 | 0 | 0 | 0 | 0 | 388331 | 388331
0
Interfund Borrowing - Draininage | [11 empty] | 0
Dutra |  |  |  |  | -55680 | [6 empty] | -55680
0
Total Interfund Drainage | 0 | 0 | 0 | 0 | -55680 | 0 | 0 | 0 | 0 | 0 | 0 | -55680 | -55680
TBD or Approved FY 08/09
Woodward Ranch |  |  |  |  | -436600 | [6 empty] | -436600
Ken Hill Estates - R2008-404 |  |  |  |  | -206289 | [6 empty] | -206289
Total TBD | 0 | 0 | 0 | 0 | -642889 | 0 | 0 | 0 | 0 | 0 | 0 | -642889 | -642889
Fund Balance 6/30/07 | 15781 | 47999 | -2755991 | 1055339 | -1683551 | -1581488 | 427959 | 40590 | -8920 | 0 | 0 | -4442282 | -4442282
Fund Balance - Fee Calculations
PFIP Louise Ave. | [11 empty] | 0
Zone 21 |  | 47999 | [9 empty] | 47999
Zone 22 |  |  | -2755991 | [8 empty] | -2755991
Zone 23 |  |  |  | 1055339 | [7 empty] | 1055339
Zone 24 |  |  |  |  | -1683551 | [6 empty] | -1683551
Zone 24A |  |  |  |  | -1581488 | [6 empty] | -1581488
DUE Pump Station | [11 empty] | 0
ABC Agreement 24 |  |  |  |  | 40590 | [6 empty] | 40590
Zone 25 | [8 empty] | -8920 |  |  | -8920
Zone 51 | [11 empty] | 0
Totals | 0 | 47999 | -2755991 | 1055339 | -3224449 | 0 | 0 | 0 | -8920 | 0 | 0 | -4886022
Fund Balance - Not Included
PFIP Louise Ave. | 15781 | [10 empty] | 15781
Zone 21 | [11 empty] | 0
Zone 22 | [11 empty] | 0
Zone 23 | [11 empty] | 0
Zone 24 | [11 empty] | 0
Zone 24A | [11 empty] | 0
DUE Pump Station | [6 empty] | 427959 |  |  |  |  | 427959
ABC Agreement 24 | [11 empty] | 0
Zone 25 | [8 empty] | 0 |  |  | 0
Zone 51 | [11 empty] | 0
Totals | 15781 | 0 | 0 | 0 | 0 | 0 | 427959 | 0 | 0 | 0 | 0 | 443740
Totals | 15781 | 47999 | -2755991 | 1055339 | -3224449 | 0 | 427959 | 0 | -8920 | 0 | 0 | -4442282

## 4. Und Land Sewer Zones
Table 3
City of Manteca
PFF Sewer Collection Fee
Undeveloped Acreage - Sewer Zones
SEWER ZONE | LAND USE | UNDEVELOPED ACRES
ZONE 21 | BP | 0.99998
| CMU | 76.1844
| GC | 36.6312
| HDR | 34.9124
| LDR | 155.2875
| LI | 7.9108
| MDR | 55.915
| NC | 13.0917
| P | 8.6079
| VLDR | 6.765
ZONE 22 | AG | 3385.3007
| CMU | 29.2923
| GC | 18.7611
| HDR | 25.6662
| HI | 175.1279
| LDR | 1033.0335
| LI | 527.8424
| MDR | 19.0973
| NC | 22.486
| OS | 15.3685
| P | 44.27
| PQP | 157.1758
| UR | 578.5375
| UR-AG | 1152.6551
| UR-CMU | 43.0578
| UR-GC | 40.4348
| UR-LDR | 754.3747
| UR-LI | 114.4495
| UR-MDR | 19.7362
| UR-P | 37.561
| UR-PQP | 11.6529
| UR-VLDR | 352.5933
| VLDR | 127.9861
ZONE 23 | CMU | 50.4571
| GC | 10.0556
| LDR | 6.8119
| LI | 34.6008
ZONE 24 | AG | 111.4787
| BIP | 44.6599
| CMU | 162.7524
| GC | 320.1093
| HDR | 68.2732
| HI | 563.7922
| LDR | 1934.0595
| LI | 180.0213
| MDR | 113.5767
| NC | 20.5254
| P | 108.3517
| PQP | 85.0424
| UR | 1130.5528
| UR-AG | 459.1962
| UR-BIP | 338.6979
| UR-CMU | 293.7625
| UR-LDR | 481.4602
| UR-P | 29.9604
| UR-VLDR | 78.7369
| VLDR | 524.7825
ZONE 25 | AG | 191.4289
| BIP | 135.3244
| GC | 78.5645
| HDR | 18.722
| LDR | 545.7898
| MDR | 48.9758
| OS | 428.9815
| UR-BIP | 70.0028
| UR-CMU | 98.8098
| UR-LDR | 145.5194
| UR-VLDR | 195.9684
| TOTAL | 18192.5709

## 5. Financing Assumptions
Table 6 | Internal |  |  | ¦
City of Manteca | Working Draft - v11
PFF Sewer Collection Fee | 2013-02-18
Financing Assumptions
Description | Amount
Annual Interest Rate | 2%
Term - Years | 30
Payments per year | 1
Loan Constant - Annual Debt Service (per $1,000) | 44.6499
Annual Debt Service: | 212814.1544
Annual Finance Cost (per $1,000) | 11.3166
Improvement Costs Financed | 4766282.7501
Total Costs Financed | 4766282.7501 | 100%
Cost Of Bond Issuance
Capitalized Interest Fund | 0
Reserve Fund | 0 | 0%
Issuance Costs | 0
Bond Counsel | 0
City's District Administration Fee | 0
Miscellaneous Costs of Issuance | 0
Total - Cost Of Bond Issuance | 0 | 0%
Total Bond Issue Size | 4766282.7501 | 100%
Check Total | 4766282.7501
Total Bond Issue Size - Rounded | 4770000
_
(1) Dollar amounts are in January 1, 2011 dollars.
Source:
Rangename: @ISSUANCE-COST
COST FACTORS FOR BOND ISSUANCE COSTS
| Fixed | Variable
Item | Component | Component | Comments
Capitalized Interest Fund | 0 | 0% | One year's interest
Reserve Fund | 0 | 0% | Maximum year's debt service
Underwriter's Discount | 0 | 0%
Bond Counsel | 0 | 0% | See Note (2)
City's District Administration Fee | 0 | 0
Miscellaneous Costs Of Issuance
Printing | 0 | 0
Trustee's Fee | 0 | 0
Miscellaneous Noticing Costs | 0 | 0
Contingency (3) | 0 | 0%
| __________ | __________
| 0 | 0%
Net Bond Proceeds | 4766282.7501 | 100%
Plus: Fixed Issuance Costs | 0 | 0%
Plus: Variable Issuance Costs | 0 | 0%
Total | 4766282.7501 | 100%
Notes:
(1) Dollar amounts are in January 1, _______ Dollars
(2) Bond Counsel's fee schedule for Assessment District bonds is
Effective Total Rate
| Rate For | Fixed | Variable
Range | The Range | Component | Component
$0 - $750,000 | 15000 | 15000 | 0%
$750,000 - $2,000,000 | 2% | 0 | 2%
$2,000,000 - $10,000,000 | 1% | 20000 | 1%
Over $10,000,000 | 0.5% | 70000 | 0.5%
(3) Contingency is calculated as 10% of all costs of issuance except Bond Counsel's Fee
and Underwriter's Discount.

## Sum 1. City Admin Costs Summary
Table (General Section 1) | Internal
City of Manteca | Working Draft - v11
PFF Sewer Collection Fee | 2013-02-18
City Administration Costs
Estimated
Wastewater | Costs
PFF Updates - 5 Year | 112500
PFF Updates - Annual | 156250
Master Plan Updates | 1593750
City Administrative Costs - On Going | 1474937.5
Total PFF Admin Costs - Wastewater | 3337437.5
Storm Drainage
PFF Updates - 5 Year | 112500
PFF Updates - Annual | 156250
Master Plan Updates | 1031250
City Administrative Costs - On Going | 1464812.5
Total PFF Admin Costs | 2764812.5
Water
PFF Updates - 5 Year | 112500
PFF Updates - Annual | 156250
Master Plan Updates | 1406250
City Administrative Costs - On Going | 1494687.5
Total PFF Admin Costs | 3169687.5
Transportation
PFF Updates - 5 Year | 112500
PFF Updates - Annual | 156250
Master Plan Updates | 1687500
City Administrative Costs - On Going | 1517187.5
Total PFF Admin Costs | 3473437.5
Totals
PFF Updates - 5 Year | 450000
PFF Updates - Annual | 625000
Master Plan Updates | 5718750
City Administrative Costs - On Going | 5951625
Total PFF Admin Costs | 12745375

## Sum 2. City Admin Costs Ongoing
Table (General Section 2) |  |  |  | Internal
City of Manteca |  |  |  | Working Draft - v11
PFF On-Going Administration |  |  |  | 2013-02-18
City Administration Costs
|  | FY13 |  | Estimated
| Annual | Annual | Years In | PFIP
Description | FTEs | Cost | PFIP | Cost
Analyst | 1 | 116875 |  | 116880
Analyst | 0.1 | 101210 |  | 10120
Deputy Finance | 0.2 | 149095 |  | 29820
Deputy Director PW | 0.1 | 171655 |  | 17170
Director CD | 0.1 | 213400 |  | 21340
Total Annual Personnel Costs | 1.5 |  |  | 195330
Personnel |  | 195330 | 25 | 4883250
IT Allocation |  | 22735 | 25 | 568375
Annual Audit |  | 20000 | 25 | 500000
Costs To Be Allocated To Each Fee Fund |  | 990300 |  | 5951625
8750000
2798375
FUND ALLOCATIONS - 25 Year Program
Wastewater
Personnel |  |  | 25% | 1220812.5
IT Allocation |  |  | 22.72% | 129125
Annual Audit |  |  | 25% | 125000
Total |  |  |  | 1474937.5
Storm Drain
Personnel |  |  | 25% | 1220812.5
IT Allocation |  |  | 20.94% | 119000
Annual Audit |  |  | 25% | 125000
Total |  |  |  | 1464812.5
Transportation
Personnel |  |  | 25% | 1220812.5
IT Allocation |  |  | 30.15% | 171375
Annual Audit |  |  | 25% | 125000
Total |  |  |  | 1517187.5
Water
Personnel |  |  | 25% | 1220812.5
IT Allocation |  |  | 26.19% | 148875
Annual Audit |  |  | 25% | 125000
Total |  |  |  | 1494687.5
Total Fund Allocations
Personnel |  |  | 100% | 4883250
IT Allocation |  |  | 100% | 568375
Annual Audit |  |  | 100% | 500000
Total |  |  |  | 5951625
Notes:
(1) Source: City of Manteca.
(2) Cost will be allocated within each fee to each fee zone based on the percentage of CIP costs.

## DEBT_SERVICE_V (hidden)
TABLE 1.
PROJECT NAME
LOAN AMORTIZATION SCHEDULE
Number of Years: |  |  | 30
Payments Per Year: |  |  | 1
Beginning Balance: |  |  | 4766282.7501 | Cost of Financing: |  | 1618141.8825
Annual Interest Rate: |  |  | 2%
Payment Timing (0=end, 1=beg): |  |  | 0
Period Payment: |  |  | 212814.1544
Annual Payment: |  |  | 212814.1544
Periodic Interest Rate: |  |  | 2%
Number of Payment Periods: |  |  | 30
Calc Check: |  |  | 4766282.7501
Period |  | Beginning | Debt |  | Principle | Remaining
Number | Year | Balance | Service | Interest | Reduction | Principle
1 | 1997 | 4766282.7501 | 212814.1544 | 95325.655 | 117488.4994 | 4648794.2507
2 | 1998 | 4648794.2507 | 212814.1544 | 92975.885 | 119838.2694 | 4528955.9813
3 | 1999 | 4528955.9813 | 212814.1544 | 90579.1196 | 122235.0348 | 4406720.9465
4 | 2000 | 4406720.9465 | 212814.1544 | 88134.4189 | 124679.7355 | 4282041.211
5 | 2001 | 4282041.211 | 212814.1544 | 85640.8242 | 127173.3302 | 4154867.8808
6 | 2002 | 4154867.8808 | 212814.1544 | 83097.3576 | 129716.7968 | 4025151.084
7 | 2003 | 4025151.084 | 212814.1544 | 80503.0217 | 132311.1327 | 3892839.9513
8 | 2004 | 3892839.9513 | 212814.1544 | 77856.799 | 134957.3554 | 3757882.5959
9 | 2005 | 3757882.5959 | 212814.1544 | 75157.6519 | 137656.5025 | 3620226.0934
10 | 2006 | 3620226.0934 | 212814.1544 | 72404.5219 | 140409.6326 | 3479816.4608
11 | 2007 | 3479816.4608 | 212814.1544 | 69596.3292 | 143217.8252 | 3336598.6356
12 | 2008 | 3336598.6356 | 212814.1544 | 66731.9727 | 146082.1817 | 3190516.4539
13 | 2009 | 3190516.4539 | 212814.1544 | 63810.3291 | 149003.8253 | 3041512.6285
14 | 2010 | 3041512.6285 | 212814.1544 | 60830.2526 | 151983.9019 | 2889528.7267
15 | 2011 | 2889528.7267 | 212814.1544 | 57790.5745 | 155023.5799 | 2734505.1468
16 | 2012 | 2734505.1468 | 212814.1544 | 54690.1029 | 158124.0515 | 2576381.0953
17 | 2013 | 2576381.0953 | 212814.1544 | 51527.6219 | 161286.5325 | 2415094.5628
18 | 2014 | 2415094.5628 | 212814.1544 | 48301.8913 | 164512.2632 | 2250582.2996
19 | 2015 | 2250582.2996 | 212814.1544 | 45011.646 | 167802.5084 | 2082779.7912
20 | 2016 | 2082779.7912 | 212814.1544 | 41655.5958 | 171158.5586 | 1911621.2326
21 | 2017 | 1911621.2326 | 212814.1544 | 38232.4247 | 174581.7298 | 1737039.5028
22 | 2018 | 1737039.5028 | 212814.1544 | 34740.7901 | 178073.3644 | 1558966.1385
23 | 2019 | 1558966.1385 | 212814.1544 | 31179.3228 | 181634.8317 | 1377331.3068
24 | 2020 | 1377331.3068 | 212814.1544 | 27546.6261 | 185267.5283 | 1192063.7786
25 | 2021 | 1192063.7786 | 212814.1544 | 23841.2756 | 188972.8789 | 1003090.8997
26 | 2022 | 1003090.8997 | 212814.1544 | 20061.818 | 192752.3364 | 810338.5633
27 | 2023 | 810338.5633 | 212814.1544 | 16206.7713 | 196607.3832 | 613731.1801
28 | 2024 | 613731.1801 | 212814.1544 | 12274.6236 | 200539.5308 | 413191.6493
29 | 2025 | 413191.6493 | 212814.1544 | 8263.833 | 204550.3214 | 208641.3279
30 | 2026 | 208641.3279 | 212814.1544 | 4172.8266 | 208641.3279 | -1.1933e-09
|  |  |  | 1618141.8825 | 4766282.7501
|  | Annual Finance Cost (per $1,000) |  | 11.3166
|  | Beg Balance / 1000 |  | 4766.2828
|  | Total Finance cost |  | 1618141.8825

## Sum 3. PFF Update Costs
Table (General Section 3) |  |  |  |  | Internal
City of Manteca |  |  |  |  | Working Draft - v11
PFF Program Update Costs |  |  |  |  | 2013-02-18
City Administration Costs
Description | Frequency | Years In PFF Fee | Updates in PFF | Cost Per Update | Total Cost in PFF
PFF 5 Year Program Update
PFF Program Update | Every 5 Years | 25 | 5 | 75000 | 375000
Legal assistance on Program Update | Every 5 Years | 25 | 5 | 15000 | 75000
Costs To Be Allocated To Each Facility Category |  |  |  | 90000 | 450000
PFF Update Allocated
Wastewater | 25% |  |  | 22500 | 112500
Storm Drain | 25% |  |  | 22500 | 112500
Transportation | 25% |  |  | 22500 | 112500
Water | 25% |  |  | 22500 | 112500
Total PFF Update Costs |  |  |  | 90000 | 450000
PFF Annual Program Review/Update
Professional Services | Annually | 25 | 25 | 25000 | 625000
Costs To Be Allocated To Each Facility Category |  |  |  | 25000 | 625000
PFF Update Allocated
Wastewater | 25% |  |  | 6250 | 156250
Storm Drain | 25% |  |  | 6250 | 156250
Transportation | 25% |  |  | 6250 | 156250
Water | 25% |  |  | 6250 | 156250
Total PFF Annual Update Costs |  |  |  | 25000 | 625000
WASTEWATER
Sewer Master Plan | Every 10 Years | 50 | 5 | 225000 | 1125000
EIR for Sewer Master Plan | Every 10 Years | 50 | 5 | 200000 | 1000000
Total Master Plan Updates |  |  |  | 425000 | 2125000
New Devlopment Share | 75% |  |  |  | 1593750
Existing Development Share | 25% |  |  |  | 531250
STORM DRAIN
Storm Drain Master Plan | Every 10 Years | 50 | 5 | 200000 | 1000000
EIR for Storm Drain Master Plan | Every 10 Years | 50 | 5 | 75000 | 375000
Total Master Plan Updates |  |  |  | 275000 | 1375000
New Devlopment Share | 75% |  |  |  | 1031250
Existing Development Share | 25% |  |  |  | 343750
WATER
Water Master Plan | Every 10 Years | 50 | 5 | 225000 | 1125000
EIR for Water Master Plan | Every 10 Years | 50 | 5 | 150000 | 750000
Total Master Plan Updates |  |  |  | 375000 | 1875000
New Devlopment Share | 75% |  |  |  | 1406250
Existing Development Share | 25% |  |  |  | 468750
TRANSPORTATION
Transportation Master Plan | Every 10 Years | 50 | 5 | 275000 | 1375000
EIR for Transportation Master Plan | Every 10 Years | 50 | 5 | 175000 | 875000
Total Maser Plan Updates |  |  |  | 450000 | 2250000
New Devlopment Share | 75% |  |  |  | 1687500
Existing Development Share | 25% |  |  |  | 562500
Sub-Total Master Plans |  |  |  | 1525000 | 7625000
New Devlopment Share |  |  |  |  | 5718750
Existing Development Share |  |  |  |  | 1906250
Grand Total |  |  |  | 1640000 | 8700000
New Devlopment Share |  |  |  |  | 6793750
Existing Development Share |  |  |  |  | 1906250
Notes:
(1) Source: City of Manteca.
(2) In the future, it is anticipated that all master plans with require EIR's.
(3) Cost will be allocated to each fee zone based on the percentage of CIP costs.

## Fund Alloc (hidden)
Table __
City of Manteca
PFF Sewer Collection Fee
Check
| % | Total | PFIP Sewer | PFIP Trans | PFIP Storm | Totals
Allocation Percentage |  |  | 45.08% | 19.56% | 35.23%
Design | 1.945% | 175000 | 78895.5418 | 34227.5837 | 61876.8745 | 175000
Construction |  | 8997565.6 | 4056387.5 | 1759799.6 | 3181378.5 | 8997565.6 | Converted formula to values
CM/CE | 5% | 449878.28 | 202819.375 | 87989.98 | 159068.925 | 449878.28
Gen |  | 50000 | 22541.5834 | 10162.4596 | 4581.5586 | 37285.6016 | Formula has issues
Contingency | 10% | 899756.56 | 405638.75 | 175979.96 | 318137.85 | 899756.56
|  | 10572200.44 | 4766282.7501 | 2068159.5833 | 3725043.7081 | 10559486.0416
Source: ___________________________________________________
Notes:
Need source and method for allocation between PFIP infrastructure categories
"Gen" total does not tie to detail allocation, appears to be a formula issue.